## Table of Contents
Tab Information and Comments
Tab Name | Comments
Instructions | General Information and Instructions for completing the workbook. Additional instructions may be found on each tab.
Vendor Info. | This tab is to capture the Point of Contact Information for your company.
Maintenance - Chillers | This tab is to capture a monthly cost per piece of equipment.
Chiller - Summary | This tab will automatically populate to provide a monthly cost per location.
Other | This tab is to capture hourly rates, parts discounts, delivery and training information.

## Instructions
General Information and Instructions
• | YOUR PROPOSAL MUST BE SUBMITTED IN EXCEL FORMAT ON CD
• | ONE (1) COMPLETE HARD COPY OF THIS APPENDIX A MUST ACCOMPANY YOUR BID
• | WRITE YOUR COMPANY NAME AND CONTRACT NUMBER ON THE CD
• | DO NOT MAKE ANY CHANGES TO THE ELECTRONIC EXCEL FILE FORMATS, INCLUDING ADDING ROWS OR COLUMNS, CHANGING COLUMN HEADERS, INPUTTING TEXT IN NUMERIC FIELDS. COMMENTS MADE ON THE SPREADSHEET WILL BE IGNORED.
• | SAVE YOUR CHANGES UNDER THE SAME FILENAME.
• | ENTER ALL INFORMATION DIRECTLY INTO THE RELEVANT EXCEL SPREADSHEET CELLS IN "NUMBER" (TWO-PLACE DECIMAL), NOT "CURRENCY" OR OTHER FORMAT UNLESS OTHERWISE STATED. THAT IS, OMIT DOLLAR SIGNS, COMMAS, AND ANY OTHER NON-ESSENTIAL SYMBOLS.
• | ENTER "N/A" TO INDICATE NOT AVAILABLE. ENTER "0" TO INDICATE THERE IS NO CHARGE. CELLS LEFT BLANK WILL BE INTERPRETED AS "NO BID".
• | PLEASE ONLY FILL IN AREAS HIGHLIGHTED IN YELLOW.
• | SEE INDIVIDUAL TABS FOR ADDITIONAL INSTRUCTIONS.
• | PROPOSALS MUST BE RECEIVED NO LATER THAN 1:00 P.M. ON Tuesday, April 19, 2011 AT:
State of Delaware, Government Support Services Attn: Contracting, GSS11079-CHILLER_MAINT 100 Enterprise Place, Suite 4 Dover, DE 19904

## Vendor Info.
VENDOR INFORMATION
ADDITIONAL INSTRUCTIONS:
INPUT POINT OF CONTACT INFORMATION FOR THIS SOLICITATION.
VENDOR NAME WILL COPY OVER TO EACH TAB.
Vendor Name:
Vendor Address:
City, State, Zip Code:
Contact Person:
Phone number:
Email:

## Maintenance
CHILLERS - Preventative Maintenance
Vendor Name: |  | 0
ADDITIONAL INSTRUCTIONS:
Vendors are to submit a monthly cost per piece of equipment. The monthly cost provided will transfer to the "Maintenance Summary" tab to provide a cost per location.
DIVISION OF FACILITIES MANAGEMENT
Line # | Location | Equipment | Model | Serial | Monthly Cost
1 | Agriculture Buidling | York Screw Compressor | YSBA-BA-SOCFA | SCBM92-813783
2 | DNREC - Richardson & Robbins Buidling | Centravac (CVHE450) | CVH045FA3E03UK2135P7B6N1A0000000PAOF000K010002C0 | L00F03287
3 | DNREC - Richardson & Robbins Buidling | Centravac (CVHE450) | CVH045FA3E03UK2135P7B6N1A0000000PAOF000K010002C0 | L00F03286
4 | Highway Department Adminstration Building | Trane Centravac (PCV-1J)
5 | Highway Department Adminstration Building | Trane Centravac (PCV-1J)
6 | Carvel State Building | Self-Contained Trane Vertical Direct-Expansion Air Conditioner - 15 Ton
7 | Carvel State Building | Self-Contained Trane Vertical Direct-Expansion Air Conditioner - 15 Ton
8 | Carvel State Building | Self-Contained Trane Vertical Direct-Expansion Air Conditioner - 25 Ton
9 | Carvel State Building | Self-Contained Trane Vertical Direct-Expansion Air Conditioner - 25 Ton
10 | Carvel State Building | Self-Contained Trane Vertical Direct-Expansion Air Conditioner - 25 Ton
11 | Carvel State Building | Self-Contained Trane Vertical Direct-Expansion Air Conditioner - 25 Ton
12 | Carvel State Building | Self-Contained Trane Vertical Direct-Expansion Air Conditioner - 25 Ton
13 | Carvel State Building | Self-Contained Trane Vertical Direct-Expansion Air Conditioner - 10 Ton
14 | Carvel State Building | Trane Computer Room Unit - 10 Ton
15 | Carvel State Building | Data-Aire | DAW D1034
16 | New Castle Motor Vehicle | Carrier Chiller (30HKO) | 38HA-044-SO1 | 4603F65174
17 | Greater Wilmington Motor Vehicle | Trane Series R, Air Cooled 70-125 Ton, 2 circuit chiller | RTAA0704XK01A3DOBM | U990688
18 | Public Archives | Trane Centrovac | RTHB150FMF00NW0000UNN3LF2LF00QUO | U99EO6767
19 | Public Archives | Trane Centrovac | RTHB150FMF00NW0000UNN3LF2LF00QUO | U99EO6768
20 | Legislative Hall | Trane Screw Compressor | RTHB215ALE00EWPOORUNV3LF2LFV0Q00 | U96K07648
21 | Kent County Court House | Carrier, Screw, Air Cooled | 30GXR080-A-5
22 | Haslet Armory | Carrier, Screw, Air Cooled | 30GXN106-F-6
23 | Kent County Family Court | York, Scroll, Air Cooled | YCUL0080SC46-XAAXXTCXXR
24 | Townsend Building | York Screw Compressor | YTD3D38266 | 6DEM21390
25 | Margaret O'Neill Building | Trane Screw Compressor | RTAA1556Ym | U97D01329
26 | William State Service Center | York Screw Compressor | Y5BBBB5OLF | SDDM-6296SC
27 | Woodburn | Robur Absorption Modules | RTCF-120-ST-N | 060500.1
28 | Woodburn | Robur Absorption Modules | RTCF-120-ST-N
29 | William Penn | Trane Helical Rotary, Air Cooled | RTAC-SVXO1C-EN
30 | State Police Indoor Range | Trane Screw Compressor | RTAAS404XM | U97809587
31 | State Police Academy | Trane, Scroll | CGAEC606ABADE6TCRJA | 29680937
32 | State Police Headquarters | Trane, Scroll | CGAEC40GABDE6TCRJJA | J9C80938
33 | State Police Troop #2 | York | YACS01SOEC46YFADBC | RNKM002120
34 | State Police Troop #5 | York Chiller | YCAL0020EC17 | RBPM0101505
35 | Court 7-16 | York, Semi Hermetic | YCA277CB3-170A | RMFM2258AA
36 | Capitol Police | Trane, Scroll | CGAEC50GABADEGRARCJ | J96C80921
37 | Agriculture Nutrient Lab | York | YCAS0100EC17XFADBXXXBXXLXXX45XXXXXXXXXXSAXXXXX3XXXXXXE | RKKM001490
38 | Sussex Court House | Trane Screw Chiller | CGWCC806RHNJJ403ACDFGPT | U92CO8859
39 | Sussex Court House | York Centrifugal Chiller | YTGOA1B1-CFJ | GBMM253553
40 | Sussex County DMV Lanes | York 88 Ton Screw Chiller | YCAS0098EB46XGA
DEPARTMENT OF STATE
Line # | Location | Equipment | Model | Serial | Monthly Cost
41 | Veteran's Home | McQuay Rotary Screw Chiller (370 Ton, Air Cooled) | AGS370B7 | STNU060500113
DEPARTMENT OF TRANSPORTATION
Line # | Location | Equipment | Model | Serial | Monthly Cost
42 | Biddles Corner Toll Plaza | Trane Air Handler | MCCAO1OCAJ0CAC | K98F58952
43 | Biddles Corner Toll Plaza | Trane Air Handler | MCCAO14BAJOCADA | K98E43425
44 | Biddles Corner Toll Plaza | Trane Air Handler | MCCAOO8GAUOBBCOOOD | K98E4O891
45 | Biddles Corner Toll Plaza | Trane Condensing Unit | RAUCCSO4BW13ABDF00020 | C02F05431
46 | Biddles Corner Toll Plaza | Trane Condensing Unit | TTA090C400A0 | G(illegible)
47 | Biddles Corner Toll Plaza | Carrier Condensing Unit | 38AUZA16A0GG-0A0A0 | 2501E17913
48 | Biddles Corner Toll Plaza | Bryant Condensing Unit | 593CJ030 0000 ACAL | 2501E17913
49 | Biddles Corner Toll Plaza | Bryant Air Handler | FB4ANF030 | 0601A68844
50 | Newark Toll Plaza | Trane Rooftop Package Unit (Cooling Only) | TCD300B300GA | Z17101563D
51 | Newark Toll Plaza | York Rooftop Package (Heat Pump) | B1HA024A06A | NDFM038811
52 | Newark Toll Plaza | Bryant Condensing Unit | 563CN030-B | 2302E35994
53 | Newark Toll Plaza | Bryant Condensing Unit | 561CJ-024 | 0900E19293
54 | Newark Toll Plaza | Bryant Condensing Unit | 593CJ-024 | 3001E28544
55 | Newark Toll Plaza | GovernAir Unit | TL10-3024-4 | 31022
56 | Newark Toll Plaza | GovernAir Unit | TL10-1014-E | 30444
57 | Dover Toll Plaza | Trane Air Handler | TTA036C400A0 | G43242868
58 | Dover Toll Plaza | Trane Air Handler | TTA0990A400BA | K93C13869
59 | Dover Toll Plaza | Samsung Air Handler | AP500PF | P1BK500004
60 | Dover Toll Plaza | Sanyo Air Handler
61 | Dover Toll Plaza | Ducane Air Handler | 018 AHU
62 | Dover Toll Plaza | Samsung Condensing Unit | AP500PF | P1BK500004
63 | Dover Toll Plaza | Sanyo Condensing Unit | C2672R | 0044762
64 | Dover Toll Plaza | Ducane Condensing Unit | AC10B18 | 2821320123
65 | Dover Toll Plaza | York Air-Cooled Chiller | YCAL0024EC46XCADXTX | RBNM00796
66 | Denney's Road Toll Plaza | Trane Air Handler | 1HAC20CEBC1 | A92L07631
67 | Denney's Road Toll Plaza | Trane Air Handler | MCAA0066AE0 | K92M70817
68 | Denney's Road Toll Plaza | Trane Air Handler | MCCA0066AE0 | K92M70769
69 | Denney's Road Toll Plaza | Sanyo Air Handler | 2TEH3F24A100AX | 61248EM2V
70 | Denney's Road Toll Plaza | Sanyo Condensing Unit | CL2472 | 0101982
71 | Denney's Road Toll Plaza | Trane Condensing Unit | TTR018C100A0 | G49273355
72 | Denney's Road Toll Plaza | Trane Condensing Unit | 2A6H3024A1000AA | 6232VAL3F
73 | Denney's Road Toll Plaza | Trane Condensing Unit | TTA150B400BA | H02198912
DEPARTMENT OF CORRECTION
Line # | Location | Equipment | Model | Serial | Monthly Cost
74 | HRYCI | York Chiller | YSDCDBS2-GATO
75 | HRYCI | York Chiller | YSDCDBS2-GATO
76 | HRYCI | York Chiller | YSCBCAS1-CGC
77 | HRYCI | York Chiller | YSCBCAS1-CGC
78 | JTVCC | Trane Chiller | WA0804YC01C3C-WFD
79 | JTVCC | Trane Chiller | RTWA070AYE
80 | JTVCC | Trane Chiller | RTWA070AYE
81 | MCCC | Trane Chiller | RTAA090AYL01A3DOBFGK
82 | MCCC | Trane Chiller | RTAA090AYL01A3DOBFGK
83 | SCI | York Chiller | YTJ3B1C3-CKH
84 | SCI | York Chiller | YTJ3B1C3-CKH
85 | SCI | York Chiller | YCWZ47CC-17PA
86 | SCI | York Chiller | YCWZ47CC-17PA

## Summary
CHILLERS - Preventative Maintenance Summary
Vendor Name: | 0
ADDITIONAL INSTRUCTIONS:
DO NOT FILL IN THIS TAB. It will populate a monthly cost per location based on the prices submitted on the "Maintenance" tab.
DIVISION OF FACILITIES MANAGEMENT
Location | Equipment Count | Total Monthly Cost
Agriculture Buidling | 1 | 0
DNREC - Richardson & Robbins Buidling | 2 | 0
Highway Department Adminstration Building | 2 | 0
Carvel State Building | 10 | 0
New Castle Motor Vehicle | 1 | 0
Greater Wilmington Motor Vehicle | 1 | 0
Public Archives | 2 | 0
Legislative Hall | 1 | 0
Kent County Court House | 1 | 0
Haslet Armory | 1 | 0
Kent County Family Court | 1 | 0
Townsend Building | 1 | 0
Margaret O'Neill Building | 1 | 0
William State Service Center | 1 | 0
Woodburn | 2 | 0
William Penn | 1 | 0
State Police Indoor Range | 1 | 0
State Police Academy | 1 | 0
State Police Headquarters | 1 | 0
State Police Troop #2 | 1 | 0
State Police Troop #5 | 1 | 0
Court 7-16 | 1 | 0
Capitol Police | 1 | 0
Agriculture Nutrient Lab | 1 | 0
Sussex Court House | 2 | 0
Sussex County DMV Lanes | 1 | 0
DEPARTMENT OF STATE
Location | Equipment Count | Total Monthly Cost
Veteran's Home | 1 | 0
DEPARTMENT OF TRANSPORTATION
Location | Equipment Count | Total Monthly Cost
Biddles Corner Toll Plaza | 8 | 0
Newark Toll Plaza | 7 | 0
Dover Toll Plaza | 9 | 0
Denney's Road Toll Plaza | 8 | 0
DEPARTMENT OF CORRECTION
Location | Equipment Count | Total Monthly Cost
HRYCI | 4 | 0
JTVCC | 3 | 0
MCCC | 2 | 0
SCI | 4 | 0

## Other
OTHER
Vendor Name: | 0
CHILLER REPAIR - HOURLY RATE
Vendors are to submit hourly rate for repair work, as specified below.
DOC | Mon-Fri 7:00AM-3:30PM | Mon-Fri 3:31PM-6:59AM + Weekends & Holidays
Mechanic
Helper
All Other Locations | Mon-Fri 8:00AM-4:30PM | Mon-Fri 4:31PM-7:59AM + Weekends & Holidays
Mechanic
Helper
PART DISCOUNTS
Vendors are asked to submit repair part discounts off list cost.
Part | Discount Level
Compressor
Control Panel
Bearings & Seals
Actuator
Flow Control
Other Parts:
OTHER SERVICES
Vendors are asked to submit a rate for winterizing Chillers. If rate various by equipment, please add additional lines and notate what the rate provided applies to. Vendors are also welcome to include additional service options.
Service | Rate
Winterization
Other:
DELIVERY
Meeting the minimum requirements, please submit the After Receipt of Order (ARO) in terms of Days.
Delivery | Days ARO
Stock Parts
Non Stock Parts
TRAINER
Per Appendix A, Item #9 - Trainer please identify one POC for scheduling training.
POC Name:
POC Phone:
POC Email: