## INSTRUCTIONS
APPENDIX C - Instructions
Contract No. GSS14679-GEN_PM_REP
Contract Title: Generator Maintenance and Repair
INSTRUCTIONS FOR FILLING OUT PRICING GRID
Fill in ONLY the yellow shaded areas in the pricing grid, and DO NOT make any changes to the format of the grids.
This color indicates the area to be filled by vendor →
Bidders are REQUIRED to complete Tab #1 and Tab #2. Vendors WILL NOT be required to bid on all line items; however the vendor is required to perform repairs for all equipment line items bid in the proposal. Failure to fully complete information requested may cause a vendor's proposal to be deemed non-responsive and removed from consideration.
Brief description of the numbered Appendix C tabs, and the information that is requested.
Tab 1. | List of Equipment and Locations - List price for each line item Per Visit
Tab 2. | List of Repairs, Parts and Training - List price per job title, list specific parts and/or overall price discount for parts, delivery times for parts and identify POC for training.
Each bidder will be required to provide GSS with two (2) paper copies of Appendix C, and one (1) electronic copy of Appendix C. The one (1) electronic copy MUST be saved in an Excel format, and written to a CD or DVD media disk.
Failure to provide the requested materials may deem a bidder's proposal UN-RESPONSIVE, and at the sole discretion of GSS, the bid removed from consideration.
ALL OTHER REQUIREMENTS AND PAPERWORK THAT ARE NECESSARY FOR A COMPLETE AND RESPONSIVE BID ARE LISTED IN THE RFP BID SOLICITATION.

## 1. EQUIPMENT LIST
APPENDIX C
PRICE SHEET
Vendor Name: |  | Generator Maintenance and Repair
GSS14679-GEN_PM_REP
NEW CASTLE COUNTY
Line # | Location | Agency | Equipment | Model | Serial | Price per Visit
| Building/Site Name and City | Agency Name | Manufacturer Name | Model Number and Size (KW) | Serial Number
1 | DEARNG AASF New Caslte | DEARING | Kohler | Model 125RE0ZJD (150kW) | 2290505
2 | DEARNG AASF Cold Storage New Caslte | DEARING | Kohler | GM81567-GA3 (83KW) | SGM327SB8
3 | DEARNG AFRC New Castle New Caslte | DEARING | Mitsubishi | Model 1DLC1250-2MU (1250 KVA)
4 | DEARNG Wilmington Readiness | DEARING | Generac | Model 3285B-1264B (150kW) | AD 205091
5 | DEARNG Wilmington Readiness | DEARING | Caterpillar | Model C6.6 (150KW) | F3A02461
6 | DEARNG Wilmington Readiness | DEARING | Cummins | Model 60DSFAD (80kW) | K120420564
7 | DEARNG USPFO New Castle | DEARING | Generac | Model 14863870100 (240 kW) | 2118169
8 | DEARNG BBTS Bethany Beach | DEARING | Cummins | Model 150DSGAC-1038091 (150kW) | I09003306
9 | DEARNG BBTS Bethany Beach | DEARING | Cummins | Model 350DFEG-1038099 (350kW) | I090029632
10 | DEARNG Smyrna Readiness | DEARING | Cummins | DSHAB power command | L060998401
11 | DEARNG Smyrna Readiness | DEARING | Cummins | GGKD power command | J020426924
12 | Education Building #24 | OMB, Facilities Management | Spectrum | 4UA13 | 23065
13 | Troop # 2, Bldg 29 | OMB, Facilities Management | Onan | DFCB-5007146 W | B020334964
14 | New Castle Fire Marshall #58 | OMB, Facilities Management | Kohler | 100R2G 100KW | 0703039
15 | County Courthouse #84 | OMB, Facilities Management | Cat | 3508
16 | Carvel Building #92 | OMB, Facilities Management | Detroit | 8083-7305 | 8FV-006243
17 | Food Dist. Warehouse | OMB, Facilities Management | Kohler | 400REOZV/GM25343-GA1 | 2041908
18 | Talley Hwy Yard/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | H950584916
19 | Bissell Hospital/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | I950585418
20 | NCC Radio Shop/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | J0508455356R
21 | NCC Radio Shop/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 25DKAF - 25KW | 3239536-9
22 | Del Tpk Admin Bldg/ Newark | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | H950584917
23 | Lum's Pond State Park/ Chesapeake City | Dept of Safety and Homeland Security | Cummins/Onan | 125DGER - 125KW | H950584386
24 | Smyrna/Knotts (DEMA)/ Smyrna | Dept of Safety and Homeland Security | Cummins/Onan | 125DGEB - 125KW | H950584385
25 | Woodshaven Site/ Claymont | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D040630357
26 | RECOM 911 Center/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845353R
27 | Bear Hwy Yard/ Bear | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050852644R
28 | Pike Creek IR Site/ Hockessin | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | I050833763R
29 | Carvel Building/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | CGIA5740969 - 125KW (Propane) | I050833762B
30 | North Talleyville/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | A060878335R
31 | Hockessin Site/ Hockessin | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050849170A
32 | Wrangle Hill DOT/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845355R
NEW CASTLE COUNTY (Continued)
Line # | Location | Agency | Equipment | Model | Serial | Price per Visit
33 | Iron Hill Site/ Newark | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050852643R
34 | U of D Christiana Towers/ Newark | Dept of Safety and Homeland Security | Cummins/Onan | WSG1068 - 75KW (Propane) | F020074480G
35 | Middletown Site/ Middletown | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845357R
36 | Rodney/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050849171A
37 | Howard R. Young Correctional Institution, EAST SIDE, Wilmington | Department of Corrections | DETROIT | 9163-7416 / 1,600 | 16E11241
38 | Howard R. Young Correctional Institution, WEST SIDE, Wilmington | Department of Corrections | CUMMINS | 750DFHA-5464 / 750 KW | K050858241 H
39 | New Castle County Women's Work Release Center, MAIN BUILDING, New Castle | Department of Corrections | KOHLER | 150RE0ZJB / 160 | 770112
40 | Delores J. Baylor Women's Correctional Institution, MAIN BUILDING, New Castle | Department of Corrections | CUMMINS | DMT175CA / 150 | 91 383-1
41 | James T. Vaughn Correctional Center, BUILDING B, Smyrna | Department of Corrections | CUMMINS | 250DQAD-5577 / 250 | L050864291
42 | James T. Vaughn Correctional Center, BUILDING C, Smyrna | Department of Corrections | CAT | D330 / 50 | 469922531
43 | James T. Vaughn Correctional Center, BUILDING D, Smyrna | Department of Corrections | CUMMINS | DGDK5742116 / 125 | J050844381
44 | James T. Vaughn Correctional Center, BUILDING E, Smyrna | Department of Corrections | Onan | 50.0 DGCA-L/27619A | 6870910375
45 | James T. Vaughn Correctional Center, BUILDING G, Smyrna | Department of Corrections | CUMMINS | 300DFCB | L020451862
46 | James T. Vaughn Correctional Center, BUILDING K, Smyrna | Department of Corrections | KOHLER | 250REOZD / 250 | 711202
47 | James T. Vaughn Correctional Center, BUILDING L, Smyrna | Department of Corrections | CAT | D330 / 50 | 169922531
48 | James T. Vaughn Correctional Center, BUILDING R, Smyrna | Department of Corrections | DETROIT | 300DSE / 300 | 622235
49 | James T. Vaughn Correctional Center, BUILDING W, Smyrna | Department of Corrections | DETROIT | DDC550 / 550 | CH17556
50 | James T. Vaughn Correctional Center, BUILDING T-3, Smyrna | Department of Corrections | KOHLER | 135ROZJ / 135 | 693369
51 | James T. Vaughn Correctional Center, BUILDING 13, Smyrna | Department of Corrections | DETROIT | 300DSE / 300 | 622236
52 | James T. Vaughn Correctional Center, BUILDING 14, Smyrna | Department of Corrections | DETROIT | 500DS / 500 | 624203
53 | James T. Vaughn Correctional Center, BUILDING 15, Smyrna | Department of Corrections | DETROIT | 150DS60 / 100 | 620074
54 | James T. Vaughn Correctional Center, BUILDING 20, Smyrna | Department of Corrections | DETROIT | 600DS / 600 | 624221
55 | James T. Vaughn Correctional Center, BUILDING 24, Smyrna | Department of Corrections | DETROIT | 600DS / 600 | 624222
56 | James T. Vaughn Correctional Center, BUILDING 27, Smyrna | Department of Corrections | DETROIT | 150DS60 / 100 | 610219
57 | Central Violation of Probation, MAIN BUILDING, Smyrna | Department of Corrections | KOHLER | 250REOZD / 250 | 663955
KENT COUNTY
Line # | Location | AGENCY | Equipment | Model | Serial | Price per Visit
| Building/Site Name and City | Agency Name | Manufacturer Name | Model Number and Size (KW) | Serial Number
1 | Legislative Hall #1 | OMB, Facilities Management | Kohler | 500RZD81/132313-81 | 319989
2 | Jesse Cooper #2 | OMB, Facilities Management | Onan | 60DGCB/30488A | H880149257
3 | Townsend #3 | OMB, Facilities Management | Spectrum | 250DS60 | 363168
4 | Tatnall #8 | OMB, Facilities Management | Onan | 45.0DYJ-15R/18815D | J78036689
5 | Public Archives #13 | OMB, Facilities Management | Onan | 500DFED-3371623E | E990912462
6 | Supreme Court #14 | OMB, Facilities Management | Onan | 705JB-4RV/5640R | 268016920
7 | SBI #21 | OMB, Facilities Management | Delco | E5229H1 | 106-J-68
8 | Troop #3 #27 | OMB, Facilities Management | Onan | DGDK-5751864C | B060890627
9 | Kent County Fire Marshall #30 | OMB, Facilities Management | Kohler | NT855G4 Eng
10 | Fire School #31 | OMB, Facilities Management | Delco | E-5232 | 69-J-65
11 | Fire School Maint. Shop #32 | OMB, Facilities Management | Kohler | 150ROZ281 | 216985
12 | TMC #36 | OMB, Facilities Management | Spectrum | 1000DS4/GM17865-GA1S | 721333
13 | New Courthouse #38 | OMB, Facilities Management | Katolight | 433PSL6216 | MX1377860909
14 | Family Court #42 | OMB, Facilities Management | Kohler | 20ROZ271/180104-71 | 211860
15 | DELDOT Admin #50 | OMB, Facilities Management | Cat | 3406 | 9DR04876
16 | Fac. Mgt Maint. Bldg #54 | OMB, Facilities Management | Cummins | GGHG-1208496L | G120361654
17 | DEMA #59 (old) | OMB, Facilities Management | Kohler | 1000ROZD/PA-132694 | 395238
18 | DEMA #59 (new) | OMB, Facilities Management | Kohler | 500REOZJ/GM76157-GA2 | SGM32297L
19 | JP Court 7 #76 | OMB, Facilities Management | Kohler | 350REOZDD/GM41981-GA3 | 2332270
20 | James Williams Serv Ctr #78 | OMB, Facilities Management | Onan | GNAC-4955356B | A018200388
21 | Dept of Ag #79 | OMB, Facilities Management | Onan | 15RJC-4R8/2179 | C86223816
22 | R & R Bulding #86 | OMB, Facilities Management | Onan | 250.0DFM-17R/253101L | K820641870
23 | William Penn #82 | OMB, Facilities Management | Kohler | 750ROZD4 | 731952
24 | DMV Admin UPS Unit | OMB, Facilities Management | Kohler | 800REOZMB/GM31728-GA5 | 2310022
25 | DSP Headquarters/ Dover | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | I960617713
26 | DOT Sign Shop/ Dover | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | B070025976
27 | Kent Radio Shop/ Camden | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | I960617302
28 | Lake Forest H.S./ Felton | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | I960617714
29 | Hartly VFD/ Hartly | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | 1606988078B
30 | Milford VFD/ Milford | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845354R
31 | Dover PD/ Dover | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | J050845352R
32 | Woodside Site/ Woodside | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | C070040655
33 | Harrington Site/ Harrington | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | F070025575A
34 | Kent Work Release Center, MAIN BUILDING, Dover | Department of Corrections | KOHLER | 250REOZD / 250 | 662508
SUSSEX COUNTY
Line # | Location | AGENCY | Equipment | Model | Serial | Price per Visit
| Building/Site Name and City | Agency Name | Manufacturer Name | Model Number and Size (KW) | Serial Number
1 | Troop #5 Bldg 34 | OMB, Facilities Management | Kohler | 200REOZJB/GM19534-GA6 | 2039851
2 | Sussex DMV #63 | OMB, Facilities Management | Spectrum | 100DSEJB | 209322
3 | Sussex County Court House #64 | OMB, Facilities Management | Kohler | 60REOZJB | 0754606
4 | Sussex County Fire School #66 | OMB, Facilities Management | Kohler | 100ROZJ81/189610-81 | 293295
5 | JP Court 3/17 #67 | OMB, Facilities Management | Kohler | 80REOZJD/GM51053 | 2209605
6 | Sussex County Maint Shop #01 | OMB, Facilities Management | Kohler | 60ERES/GM66911-GA6 | 2333464
7 | Milton Tower Site/ Milton | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D040630366
8 | SSX County Radio Shop/ Bridgeville | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | H950584384
9 | SSX County Radio Shop/ Bridgeville | Dept of Safety and Homeland Security | Cummins/Onan | 125DGEB - 125KW | F070069233
10 | Seaford Center/ Seaford | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | F970640757
11 | Bethany Beach/ Frankford | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | 46720497
12 | DOT Admin/ Georgetown | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | F070069234A
13 | Rehoboth Tower Site/ Rehoboth | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D020363697
14 | Dagsboro Fire Tower/ Dagsboro | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | F97060758
15 | Rehoboth Water Tank/ Rehoboth | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D040630368
16 | Laurel DOT/ Laurel | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050852646R
17 | Williamsville Site/ Selbyville | Dept of Safety and Homeland Security | Cummins/Onan | OTECC300 - 80KW | F070069237A
18 | Lewes Site/ Lewes | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | F070069235A
19 | Georgetown Site/ Georgetown | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | F070069234
20 | Sussex Correctional Institution, MAINTENANCE, Georgetown | Department of Corrections | KOHLER | 200ROZJ / 200 | 607331
21 | Sussex Correctional Institution, KITCHEN, Georgetown | Department of Corrections | KOHLER | 500ROZD / 500 | 382006
22 | Sussex Correctional Institution, BC / PI, Georgetown | Department of Corrections | KOHLER | 300ROZD / 300 | 380776
23 | Sussex Correctional Institution, PRE-TRIAL, Georgetown | Department of Corrections | KOHLER | 500ROZD / 500 | 380057
24 | Sussex Correctional Institution, ARMORY, Georgetown | Department of Corrections | KOHLER | 30RZ (LP GAS) / 30 | 661206
25 | Sussex Correctional Institution, CLOSE CUSTODY, Georgetown | Department of Corrections | CAT | 275REOZD / 300 | 742913
26 | Sussex Correctional Institution, LIFT STATION, Georgetown | Department of Corrections | KOHLER | 80RZ (LP GAS) / 80 | 380877
27 | Sussex Violation of Probation Center, MAIN BUILDING, Georgetown | Department of Corrections | KOHLER | 250REOZD / 250 | 636953
28 | Sussex Work Release Center, MAIN BUILDING, Georgetown | Department of Corrections | KOHLER | 60ROZ281 / 60 | 44265411

## 2. REPAIRS, PARTS & TRAINING
APPENDIX C
PRICE SHEET
Generator Maintenance and Repair
GSS14679-GEN_PM_REP
Repairs, Parts and Training
Vendor Name: | 0
GENERATOR REPAIR - HOURLY RATE
Vendors are to submit hourly rate for repair work, as specified below.
DOC | Mon-Fri 7:00AM-3:00PM | Mon-Fri 3:01PM-6:59AM + Weekends & Holidays
Job Title | Hourly Rate | Hourly Rate
All Other Locations | Mon-Fri 8:00AM-4:30PM | Mon-Fri 4:31PM-7:59AM + Weekends & Holidays
Job Title | Hourly Rate | Hourly Rate
PART DISCOUNTS
Vendors are asked to submit repair part discounts off list cost.
Parts/Materials | Discount Level
All Other Parts
DELIVERY
Meeting the minimum requirements, please submit the After Receipt of Order (ARO) in terms of Days.
Delivery | Days ARO
Stock Parts
Non Stock Parts
TRAINER
Per Appendix A, Section A, Item #17 - Training - please identify one POC for scheduling training.
POC Name:
POC Phone:
POC Email: