## ADDENDUMS
Generator Maintenance and Repair
GSS14679-GEN_PM_REP
Addendums
Addendum #1 | 2014-12-07
Addition of DelDOT Generators
Addendum #2 | 2014-12-18
Addition of Delaware City DMV and Wilmington Forensic Bldg.

## CURTIS ENGINE EQUIPMENT LIST
PRICE SHEET
Vendor Name: |  | Generator Maintenance and Repair
Curtis Engine & Equipment, Inc. |  | GSS14679-GEN_PM_REP
NEW CASTLE COUNTY
Line # | Location | Agency | Equipment | Model | Serial | Price per Visit
| Building/Site Name and City | Agency Name | Manufacturer Name | Model Number and Size (KW) | Serial Number
1 | DEARNG AASF New Caslte | DEARING | Kohler | Model 125RE0ZJD (150kW) | 2290505 | 737.58
2 | DEARNG AASF Cold Storage New Caslte | DEARING | Kohler | GM81567-GA3 (83KW) | SGM327SB8 | 638.02
3 | DEARNG AFRC New Castle New Caslte | DEARING | Mitsubishi | Model 1DLC1250-2MU (1250 KVA) |  | 1378.64
4 | DEARNG Wilmington Readiness | DEARING | Generac | Model 3285B-1264B (150kW) | AD 205091 | 737.58
5 | DEARNG Wilmington Readiness | DEARING | Caterpillar | Model C6.6 (150KW) | F3A02461 | 737.58
6 | DEARNG Wilmington Readiness | DEARING | Cummins | Model 60DSFAD (80kW) | K120420564 | 638.02
7 | DEARNG USPFO New Castle | DEARING | Generac | Model 14863870100 (240 kW) | 2118169 | 835.81
8 | DEARNG BBTS Bethany Beach | DEARING | Cummins | Model 150DSGAC-1038091 (150kW) | I09003306 | 737.58
9 | DEARNG BBTS Bethany Beach | DEARING | Cummins | Model 350DFEG-1038099 (350kW) | I090029632 | 857.85
10 | DEARNG Smyrna Readiness | DEARING | Cummins | DSHAB power command | L060998401 | 737.58
11 | DEARNG Smyrna Readiness | DEARING | Cummins | GGKD power command | J020426924 | 737.58
12 | Education Building #24 | OMB, Facilities Management | Spectrum | 4UA13 | 23065 | 1358.12
13 | Troop # 2, Bldg 29 | OMB, Facilities Management | Onan | DFCB-5007146 W | B020334964 | 849.11
14 | New Castle Fire Marshall #58 | OMB, Facilities Management | Kohler | 100R2G 100KW | 0703039 | 668.04
15 | County Courthouse #84 | OMB, Facilities Management | Cat | 3508 |  | 835.81
16 | Carvel Building #92 | OMB, Facilities Management | Detroit | 8083-7305 | 8FV-006243 | 835.81
17 | Food Dist. Warehouse | OMB, Facilities Management | Kohler | 400REOZV/GM25343-GA1 | 2041908 | 866.97
18 | Talley Hwy Yard/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | H950584916 | 668.04
19 | Bissell Hospital/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | I950585418 | 668.04
20 | NCC Radio Shop/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | J0508455356R | 584.82
21 | NCC Radio Shop/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 25DKAF - 25KW | 3239536-9 | 584.82
22 | Del Tpk Admin Bldg/ Newark | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | H950584917 | 668.04
23 | Lum's Pond State Park/ Chesapeake City | Dept of Safety and Homeland Security | Cummins/Onan | 125DGER - 125KW | H950584386 | 737.58
24 | Smyrna/Knotts (DEMA)/ Smyrna | Dept of Safety and Homeland Security | Cummins/Onan | 125DGEB - 125KW | H950584385 | 737.58
25 | Woodshaven Site/ Claymont | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D040630357 | 638.02
26 | RECOM 911 Center/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845353R | 668.04
27 | Bear Hwy Yard/ Bear | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050852644R | 638.02
28 | Pike Creek IR Site/ Hockessin | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | I050833763R | 638.02
29 | Carvel Building/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | CGIA5740969 - 125KW (Propane) | I050833762B | 737.58
30 | North Talleyville/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | A060878335R | 668.04
31 | Hockessin Site/ Hockessin | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050849170A | 638.02
32 | Wrangle Hill DOT/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845355R | 668.04
NEW CASTLE COUNTY (Continued)
Line # | Location | Agency | Equipment | Model | Serial | Price per Visit
33 | Iron Hill Site/ Newark | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050852643R | 638.02
34 | U of D Christiana Towers/ Newark | Dept of Safety and Homeland Security | Cummins/Onan | WSG1068 - 75KW (Propane) | F020074480G | 638.02
35 | Middletown Site/ Middletown | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845357R | 668.04
36 | Rodney/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050849171A | 638.02
37 | Howard R. Young Correctional Institution, EAST SIDE, Wilmington | Department of Corrections | DETROIT | 9163-7416 / 1,600 | 16E11241 | 1820.96
38 | Howard R. Young Correctional Institution, WEST SIDE, Wilmington | Department of Corrections | CUMMINS | 750DFHA-5464 / 750 KW | K050858241 H | 1421.01
39 | New Castle County Women's Work Release Center, MAIN BUILDING, New Castle | Department of Corrections | KOHLER | 150RE0ZJB / 160 | 770112 | 832.58
40 | Delores J. Baylor Women's Correctional Institution, MAIN BUILDING, New Castle | Department of Corrections | CUMMINS | DMT175CA / 150 | 91 383-1 | 737.58
41 | James T. Vaughn Correctional Center, BUILDING B, Smyrna | Department of Corrections | CUMMINS | 250DQAD-5577 / 250 | L050864291 | 764.56
42 | James T. Vaughn Correctional Center, BUILDING C, Smyrna | Department of Corrections | CAT | D330 / 50 | 469922531 | 655.88
43 | James T. Vaughn Correctional Center, BUILDING D, Smyrna | Department of Corrections | CUMMINS | DGDK5742116 / 125 | J050844381 | 737.58
44 | James T. Vaughn Correctional Center, BUILDING E, Smyrna | Department of Corrections | Onan | 50.0 DGCA-L/27619A | 6870910375 | 608.38
45 | James T. Vaughn Correctional Center, BUILDING G, Smyrna | Department of Corrections | CUMMINS | 300DFCB | L020451862 | 849.11
46 | James T. Vaughn Correctional Center, BUILDING K, Smyrna | Department of Corrections | KOHLER | 250REOZD / 250 | 711202 | 835.81
47 | James T. Vaughn Correctional Center, BUILDING L, Smyrna | Department of Corrections | CAT | D330 / 50 | 169922531 | 655.88
48 | James T. Vaughn Correctional Center, BUILDING R, Smyrna | Department of Corrections | DETROIT | 300DSE / 300 | 622235 | 849.11
49 | James T. Vaughn Correctional Center, BUILDING W, Smyrna | Department of Corrections | DETROIT | DDC550 / 550 | CH17556 | 969
50 | James T. Vaughn Correctional Center, BUILDING T-3, Smyrna | Department of Corrections | KOHLER | 135ROZJ / 135 | 693369 | 737.58
51 | James T. Vaughn Correctional Center, BUILDING 13, Smyrna | Department of Corrections | DETROIT | 300DSE / 300 | 622236 | 849.11
52 | James T. Vaughn Correctional Center, BUILDING 14, Smyrna | Department of Corrections | DETROIT | 500DS / 500 | 624203 | 889.01
53 | James T. Vaughn Correctional Center, BUILDING 15, Smyrna | Department of Corrections | DETROIT | 150DS60 / 100 | 620074 | 737.58
54 | James T. Vaughn Correctional Center, BUILDING 20, Smyrna | Department of Corrections | DETROIT | 600DS / 600 | 624221 | 969
55 | James T. Vaughn Correctional Center, BUILDING 24, Smyrna | Department of Corrections | DETROIT | 600DS / 600 | 624222 | 969
56 | James T. Vaughn Correctional Center, BUILDING 27, Smyrna | Department of Corrections | DETROIT | 150DS60 / 100 | 610219 | 737.58
57 | Central Violation of Probation, MAIN BUILDING, Smyrna | Department of Corrections | KOHLER | 250REOZD / 250 | 663955 | 835.81
58 | Delaware City DMV, New Castle | OBM, Facilities Management | Kohler | 150AZGC / GM80580-GA1 / 45kw | 5GM329T7J | 737.58
59 | Wilmington Forensic Building, (Medical Examiners Bldg) | OBM, Facilities Management | Kato Light | N125FPZ4 / 125 | 5GM329T7J | 737.58
KENT COUNTY
Line # | Location | AGENCY | Equipment | Model | Serial | Price per Visit
| Building/Site Name and City | Agency Name | Manufacturer Name | Model Number and Size (KW) | Serial Number
1 | Legislative Hall #1 | OMB, Facilities Management | Kohler | 500RZD81/132313-81 | 319989 | 889.01
2 | Jesse Cooper #2 | OMB, Facilities Management | Onan | 60DGCB/30488A | H880149257 | 608.38
3 | Townsend #3 | OMB, Facilities Management | Spectrum | 250DS60 | 363168 | 835.81
4 | Tatnall #8 | OMB, Facilities Management | Onan | 45.0DYJ-15R/18815D | J78036689 | 608.38
5 | Public Archives #13 | OMB, Facilities Management | Onan | 500DFED-3371623E | E990912462 | 889.01
6 | Supreme Court #14 | OMB, Facilities Management | Onan | 705JB-4RV/5640R | 268016920 | 1311
7 | SBI #21 | OMB, Facilities Management | Delco | E5229H1 | 106-J-68 | 835.81
8 | Troop #3 #27 | OMB, Facilities Management | Onan | DGDK-5751864C | B060890627 | 737.58
9 | Kent County Fire Marshall #30 | OMB, Facilities Management | Kohler | NT855G4 Eng |  | 849.11
10 | Fire School #31 | OMB, Facilities Management | Delco | E-5232 | 69-J-65 | 857.85
11 | Fire School Maint. Shop #32 | OMB, Facilities Management | Kohler | 150ROZ281 | 216985 | 737.58
12 | TMC #36 | OMB, Facilities Management | Spectrum | 1000DS4/GM17865-GA1S | 721333 | 1378.64
13 | New Courthouse #38 | OMB, Facilities Management | Katolight | 433PSL6216 | MX1377860909 | 849.11
14 | Family Court #42 | OMB, Facilities Management | Kohler | 20ROZ271/180104-71 | 211860 | 584.82
15 | DELDOT Admin #50 | OMB, Facilities Management | Cat | 3406 | 9DR04876 | 889.01
16 | Fac. Mgt Maint. Bldg #54 | OMB, Facilities Management | Cummins | GGHG-1208496L | G120361654 | 638.02
17 | DEMA #59 (old) | OMB, Facilities Management | Kohler | 1000ROZD/PA-132694 | 395238 | 1378.64
18 | DEMA #59 (new) | OMB, Facilities Management | Kohler | 500REOZJ/GM76157-GA2 | SGM32297L | 889.01
19 | JP Court 7 #76 | OMB, Facilities Management | Kohler | 350REOZDD/GM41981-GA3 | 2332270 | 857.85
20 | James Williams Serv Ctr #78 | OMB, Facilities Management | Onan | GNAC-4955356B | A018200388 | 584.82
21 | Dept of Ag #79 | OMB, Facilities Management | Onan | 15RJC-4R8/2179 | C86223816 | 584.82
22 | R & R Bulding #86 | OMB, Facilities Management | Onan | 250.0DFM-17R/253101L | K820641870 | 835.81
23 | William Penn #82 | OMB, Facilities Management | Kohler | 750ROZD4 | 731952 | 1036.26
24 | DMV Admin UPS Unit | OMB, Facilities Management | Kohler | 800REOZMB/GM31728-GA5 | 2310022 | 1036.26
25 | DSP Headquarters/ Dover | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | I960617713 | 638.02
26 | DOT Sign Shop/ Dover | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | B070025976 | 584.82
27 | Kent Radio Shop/ Camden | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | I960617302 | 584.82
28 | Lake Forest H.S./ Felton | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | I960617714 | 638.02
29 | Hartly VFD/ Hartly | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | 1606988078B | 638.02
30 | Milford VFD/ Milford | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845354R | 668.04
31 | Dover PD/ Dover | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | J050845352R | 638.02
32 | Woodside Site/ Woodside | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | C070040655 | 668.04
33 | Harrington Site/ Harrington | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | F070025575A | 638.02
34 | Kent Work Release Center, MAIN BUILDING, Dover | Department of Corrections | KOHLER | 250REOZD / 250 | 662508 | 835.81
SUSSEX COUNTY
Line # | Location | AGENCY | Equipment | Model | Serial | Price per Visit
| Building/Site Name and City | Agency Name | Manufacturer Name | Model Number and Size (KW) | Serial Number
1 | Troop #5 Bldg 34 | OMB, Facilities Management | Kohler | 200REOZJB/GM19534-GA6 | 2039851 | 753.16
2 | Sussex DMV #63 | OMB, Facilities Management | Spectrum | 100DSEJB | 209322 | 668.04
3 | Sussex County Court House #64 | OMB, Facilities Management | Kohler | 60REOZJB | 0754606 | 608.38
4 | Sussex County Fire School #66 | OMB, Facilities Management | Kohler | 100ROZJ81/189610-81 | 293295 | 668.04
5 | JP Court 3/17 #67 | OMB, Facilities Management | Kohler | 80REOZJD/GM51053 | 2209605 | 638.02
6 | Sussex County Maint Shop #01 | OMB, Facilities Management | Kohler | 60ERES/GM66911-GA6 | 2333464 | 608.38
7 | Milton Tower Site/ Milton | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D040630366 | 638.02
8 | SSX County Radio Shop/ Bridgeville | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | H950584384 | 584.82
9 | SSX County Radio Shop/ Bridgeville | Dept of Safety and Homeland Security | Cummins/Onan | 125DGEB - 125KW | F070069233 | 737.58
10 | Seaford Center/ Seaford | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | F970640757 | 638.02
11 | Bethany Beach/ Frankford | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | 46720497 | 668.04
12 | DOT Admin/ Georgetown | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | F070069234A | 584.82
13 | Rehoboth Tower Site/ Rehoboth | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D020363697 | 638.02
14 | Dagsboro Fire Tower/ Dagsboro | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | F97060758 | 638.02
15 | Rehoboth Water Tank/ Rehoboth | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D040630368 | 638.02
16 | Laurel DOT/ Laurel | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050852646R | 638.02
17 | Williamsville Site/ Selbyville | Dept of Safety and Homeland Security | Cummins/Onan | OTECC300 - 80KW | F070069237A | 638.02
18 | Lewes Site/ Lewes | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | F070069235A | 638.02
19 | Georgetown Site/ Georgetown | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | F070069234 | 638.02
20 | Sussex Correctional Institution, MAINTENANCE, Georgetown | Department of Corrections | KOHLER | 200ROZJ / 200 | 607331 | 753.16
21 | Sussex Correctional Institution, KITCHEN, Georgetown | Department of Corrections | KOHLER | 500ROZD / 500 | 382006 | 889.01
22 | Sussex Correctional Institution, BC / PI, Georgetown | Department of Corrections | KOHLER | 300ROZD / 300 | 380776 | 849.11
23 | Sussex Correctional Institution, PRE-TRIAL, Georgetown | Department of Corrections | KOHLER | 500ROZD / 500 | 380057 | 889.01
24 | Sussex Correctional Institution, ARMORY, Georgetown | Department of Corrections | KOHLER | 30RZ (LP GAS) / 30 | 661206 | 584.82
25 | Sussex Correctional Institution, CLOSE CUSTODY, Georgetown | Department of Corrections | CAT | 275REOZD / 300 | 742913 | 849.11
26 | Sussex Correctional Institution, LIFT STATION, Georgetown | Department of Corrections | KOHLER | 80RZ (LP GAS) / 80 | 380877 | 638.02
27 | Sussex Violation of Probation Center, MAIN BUILDING, Georgetown | Department of Corrections | KOHLER | 250REOZD / 250 | 636953 | 835.81
28 | Sussex Work Release Center, MAIN BUILDING, Georgetown | Department of Corrections | KOHLER | 60ROZ281 / 60 | 44265411 | 608.38
Note on A67: Fry, Maria (OMB): Addendum #2 Added location 12/18/14
Note on A68: Fry, Maria (OMB): Addendum #2 Added location 12/18/14

## CURTIS REPAIRS & TRAINING
PRICE SHEET
Generator Maintenance and Repair
GSS14679-GEN_PM_REP
Repairs, Parts and Training
Vendor Name: | Curtis Engine & Equipment, Inc.
GENERATOR REPAIR - HOURLY RATE
DOC | Mon-Fri 7:00AM-3:00PM | Mon-Fri 3:01PM-6:59AM + Weekends & Holidays
Job Title | Hourly Rate | Hourly Rate
Technician | 87 | 130.5
Helper | 65 | 97.5
All Other Locations | Mon-Fri 8:00AM-4:30PM | Mon-Fri 4:31PM-7:59AM + Weekends & Holidays
Job Title | Hourly Rate | Hourly Rate
Technician | 87 | 130.5
Helper | 65 | 97.5
PART DISCOUNTS
Parts/Materials | Discount Level
All Parts | 15%
All Other Parts
DELIVERY
Delivery | Days ARO
Stock Parts | 2 Days
Non Stock Parts | 6 Days
TRAINER
POC Name: | Joe Glackin
POC Phone: | 410-852-1811
POC Email: | jglackin@curtisengine.com

## CURTIS - DelDOT EQUIP
|  | PRICE SHEET |  |  | Effective 12/7/14
Vendor Name: |  | Generator Maintenance and Repair
Curtis Engine & Equipment, Inc. |  | GSS14679-GEN_PM_REP
DelDOT
Line # | Location | Agency | Equipment | Model |  | Serial | Price per Visit
| Building/Site Name and City | Address | Manufacturer Name | Model Number and Size (KW) |  | Serial Number
1 | Area 9 - Middletown (Unit 1) | 5369 Summit Bridge Rd., Middletown | Taylor Power | DS150M3 | 150KW | TP21594 | 832.58
2 | Area 9 - Middletown (Unit 2)Chic Shd | 5369 Summit Bridge Rd., Middletown | Taylor Power | DS150M3 | 150KW | TP21926 | 832.58
3 | Area 10 - Bear Yard (Shop) | 250 Bear-Christiana Rd., Bear | Himoinsa | HPW375T6 | 350KW | 7100679 | 857.85
4 | Area 10 - Bear Yard (Sheds) | 250 Bear-Christiana Rd., Bear | Himoinsa | HPW145M6 | 150KW | 8106695 | 832.58
5 | Area 10 - Bear Yard (Admin) | 251 Bear-Christiana Rd., Bear | Himoinsa | HFW 375T6 | 350KW | 7100795 | 857.85
6 | Area 22 - Sod Farm | 5025 DuPont Pkwy., Smyrna | Taylor Power | DS35OM3 | 300KW | TP21584 | 857.85
7 | Area 21 - Magnolia Float Crew | 1235 Briarbush Rd., Magnolia | Taylor Power | DS150M3 | 150KW | TP21593 | 832.58
8 | Area 21 - Magnolia Float Crew | 1235 Briarbush Rd., Magnolia | Taylor Power | DS150M3 | 150KW | TP21779 | 832.58
9 | Area 8 - Cheswold | 4275 Seven Hickories Rd., Cheswold | Taylor Power | DS150M3 | 150KW | TP21592 | 832.58
10 | Area 8 - Cheswold | 4276 Seven Hickories Rd., Cheswold | Taylor Power | DS150M3 | 150KW | TP21594 | 832.58
11 | Area 7 - Magnolia | 1235 Briarbush Rd., Magnolia | Taylor Power | DS150M3 | 150KW | TP21596 | 832.58
12 | Area 6 - Harrington | 129 Jackson Ditch Rd., Harrington | Taylor Power | DS150M3 | 150KW | TP21591 | 832.58
13 | Area 6 - Harrington | 130 Jackson Ditch Rd., Harrington | Taylor Power | DS150M3 | 150KW | TP21833 | 832.58
14 | Area 6 - Harrington | 131 Jackson Ditch Rd., Harrington | Taylor Power | DS150M3 | 150KW | TP21597 | 832.58
15 | Sign Shop (not enoughfor Air Cond) | 10 Sign Shop Rd., Dover | Cummins/Onan | 140G855 | 140KW | 25182946 | 832.58
16 | Central Admin Office/Trk Shop | 930 Public Safety Blvd., Dover | Taylor Power | DS300M3 | 300KW | TP21582 | 857.85
17 | Chapman Rd. Admin/Shop | 39 E. Regal Blvd, Newark | Himoinsa | HPW290T6 | 300KW | 8105417 | 857.85
18 | Area 11 - Kiamensi | 815 Stanton Rd., Wilmington | Taylor Power | DS150M3 | 150KW | TP21989 | 832.58
19 | Area 11 - Kiamensi | 816 Stanton Rd., Wilmington | Taylor Power | DS60M3 | 60KW | TP21987 | 668.04
20 | Area 11 - Kiamensi | 817 Stanton Rd., Wilmington | Taylor Power | DS60M3 | 60KW | TP21986 | 668.04
21 | Area 11 - Kiamensi | 818 Stanton Rd., Wilmington | Taylor Power | DS60M3 | 60KW | TP21988 | 668.04
22 | Area 12 - Talley | 1300 Talley Rd., Wilmington | Kohler | 125REOZJD | 150KW | 2238798 | 832.58
23 | Area 1 - Laurel | 10930 Salt Barn Rd., Laurel | Taylor Power | DS150M3 | 150KW | TP21588 | 832.58
24 | Area 2 - Seaford | 22136 Bridgeville Hwy, Seaford | Taylor Power | DS150M3 | 150KW | TP22174 | 832.58
25 | Area 3 - Ellendale | 20368 Milton-Ellendale Hwy, Ellendale | Taylor Power | DS150M3 | 150KW | TP21590 | 832.58
26 | Area 4 - Gravel Hill | 20106 Gravel Hill Rd., Georgetown | Taylor Power | DS150M3 | 150KW | TP21586 | 832.58
27 | Area 5 - Dagsboro | 27643 Dagsboro Rd., Dagsboro | Taylor Power | DS150M3 | 150KW | TP21585 | 832.58
28 | Area 20 - Gravel Hill | 24450 Lewes-Georgetown Rd. Georgetown | Taylor Power | DS150M3 | 150KW | TP21587 | 832.58
29 | Rehoboth Draw Bridge | Rehoboth Ave. (Del. Rt.1A), Rehoboth | Taylor Power | DS150M3 | 150KW | TP21581 | 832.58
30 | Lewes Draw Bridge | Savanah Bridge, Lewes | Onan | 15R/24530 | 75KW | 603604 | 668.04
31 | Georgetown Admin/Shop | Route 113, Georgetown | Himoinsa | HFW 375T6 | 350KW | 8105737 | 857.85
32 | Cedar Creek Bridge #164 | Rte 36, Milford, DE | Onan | EZ200188 | 5KW | E200188 | 668.04
33 | Resource Center | 96 Sign Shop Lane, Dover | Taylor Power | DS150M3 | 150KW | TP21598 | 832.58
34 | I-95 Toll Admin Center | 1200 Whitaker Rd., Newark | Taylor Power | DS35OM3 | 350KW | TP21583 | 857.85
35 | Biddles Corner Plaza | 2111 DuPont Hwy., Middletown | Cat | KVG | 350KW | KVG-436 | 857.85
36 | Dover Toll Plaza | 200 Plaza Rd., Dover | Onan | 350DFCC | 350KW | J920487696 | 857.85
37 | South Smyrna Ramp N.B | South Smyrna N.B Ramp East of SR.1 | Onan | 20DGAB | 20KW | H920480399 | 668.04
38 | Deneys Rd. Toll Plaza | 100 Denneys Rd., Dover | Onan | 250DFAC | 250KW | 1920484253 | 849.11
39 | Smyrna Rest Area | 5500 DuPont Highway, Smyrna | Onan | DGDK-5007287 | 125KW | A020322458 | 832.58
40 | Boyds Corner Ramp | East of US13, S.B SR.1 Ramp | Generack | SG035-K364 | 35KW | 98A02180/21137 | 668.04

## PREMIUM POWER EQUIPMENT LIST
PRICE SHEET
Vendor Name: |  | Generator Maintenance and Repair
Premium Power Services LLC |  | GSS14679-GEN_PM_REP
NEW CASTLE COUNTY
Line # | Location | Agency | Equipment | Model | Serial | Price per Visit
| Building/Site Name and City | Agency Name | Manufacturer Name | Model Number and Size (KW) | Serial Number
1 | DEARNG AASF New Caslte | DEARING | Kohler | Model 125RE0ZJD (150kW) | 2290505 | 268
2 | DEARNG AASF Cold Storage New Caslte | DEARING | Kohler | GM81567-GA3 (83KW) | SGM327SB8 | 268
3 | DEARNG AFRC New Castle New Caslte | DEARING | Mitsubishi | Model 1DLC1250-2MU (1250 KVA) |  | 584
4 | DEARNG Wilmington Readiness | DEARING | Generac | Model 3285B-1264B (150kW) | AD 205091 | 268
5 | DEARNG Wilmington Readiness | DEARING | Caterpillar | Model C6.6 (150KW) | F3A02461 | 268
6 | DEARNG Wilmington Readiness | DEARING | Cummins | Model 60DSFAD (80kW) | K120420564 | 268
7 | DEARNG USPFO New Castle | DEARING | Generac | Model 14863870100 (240 kW) | 2118169 | 298
8 | DEARNG BBTS Bethany Beach | DEARING | Cummins | Model 150DSGAC-1038091 (150kW) | I09003306 | 268
9 | DEARNG BBTS Bethany Beach | DEARING | Cummins | Model 350DFEG-1038099 (350kW) | I090029632 | 308
10 | DEARNG Smyrna Readiness | DEARING | Cummins | DSHAB power command | L060998401 | 268
11 | DEARNG Smyrna Readiness | DEARING | Cummins | GGKD power command | J020426924 | 268
12 | Education Building #24 | OMB, Facilities Management | Spectrum | 4UA13 | 23065 | 268
13 | Troop # 2, Bldg 29 | OMB, Facilities Management | Onan | DFCB-5007146 W | B020334964 | 308
14 | New Castle Fire Marshall #58 | OMB, Facilities Management | Kohler | 100R2G 100KW | 0703039 | 268
15 | County Courthouse #84 | OMB, Facilities Management | Cat | 3508 |  | 735
16 | Carvel Building #92 | OMB, Facilities Management | Detroit | 8083-7305 | 8FV-006243 | 370
17 | Food Dist. Warehouse | OMB, Facilities Management | Kohler | 400REOZV/GM25343-GA1 | 2041908 | 377
18 | Talley Hwy Yard/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | H950584916 | 268
19 | Bissell Hospital/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | I950585418 | 268
20 | NCC Radio Shop/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | J0508455356R | 257
21 | NCC Radio Shop/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 25DKAF - 25KW | 3239536-9 | 257
22 | Del Tpk Admin Bldg/ Newark | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | H950584917 | 268
23 | Lum's Pond State Park/ Chesapeake City | Dept of Safety and Homeland Security | Cummins/Onan | 125DGER - 125KW | H950584386 | 268
24 | Smyrna/Knotts (DEMA)/ Smyrna | Dept of Safety and Homeland Security | Cummins/Onan | 125DGEB - 125KW | H950584385 | 268
25 | Woodshaven Site/ Claymont | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D040630357 | 268
26 | RECOM 911 Center/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845353R | 268
27 | Bear Hwy Yard/ Bear | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050852644R | 268
28 | Pike Creek IR Site/ Hockessin | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | I050833763R | 268
29 | Carvel Building/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | CGIA5740969 - 125KW (Propane) | I050833762B | 268
30 | North Talleyville/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | A060878335R | 268
31 | Hockessin Site/ Hockessin | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050849170A | 268
32 | Wrangle Hill DOT/ New Castle | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845355R | 268
NEW CASTLE COUNTY (Continued)
Line # | Location | Agency | Equipment | Model | Serial | Price per Visit
33 | Iron Hill Site/ Newark | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050852643R | 268
34 | U of D Christiana Towers/ Newark | Dept of Safety and Homeland Security | Cummins/Onan | WSG1068 - 75KW (Propane) | F020074480G | 197
35 | Middletown Site/ Middletown | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845357R | 268
36 | Rodney/ Wilmington | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050849171A | 268
37 | Howard R. Young Correctional Institution, EAST SIDE, Wilmington | Department of Corrections | DETROIT | 9163-7416 / 1,600 | 16E11241 | 550
38 | Howard R. Young Correctional Institution, WEST SIDE, Wilmington | Department of Corrections | CUMMINS | 750DFHA-5464 / 750 KW | K050858241 H | 492
39 | New Castle County Women's Work Release Center, MAIN BUILDING, New Castle | Department of Corrections | KOHLER | 150RE0ZJB / 160 | 770112 | 268
40 | Delores J. Baylor Women's Correctional Institution, MAIN BUILDING, New Castle | Department of Corrections | CUMMINS | DMT175CA / 150 | 91 383-1 | 268
41 | James T. Vaughn Correctional Center, BUILDING B, Smyrna | Department of Corrections | CUMMINS | 250DQAD-5577 / 250 | L050864291 | 298
42 | James T. Vaughn Correctional Center, BUILDING C, Smyrna | Department of Corrections | CAT | D330 / 50 | 469922531 | 257
43 | James T. Vaughn Correctional Center, BUILDING D, Smyrna | Department of Corrections | CUMMINS | DGDK5742116 / 125 | J050844381 | 268
44 | James T. Vaughn Correctional Center, BUILDING E, Smyrna | Department of Corrections | Onan | 50.0 DGCA-L/27619A | 6870910375 | 257
45 | James T. Vaughn Correctional Center, BUILDING G, Smyrna | Department of Corrections | CUMMINS | 300DFCB | L020451862 | 295
46 | James T. Vaughn Correctional Center, BUILDING K, Smyrna | Department of Corrections | KOHLER | 250REOZD / 250 | 711202 | 276
47 | James T. Vaughn Correctional Center, BUILDING L, Smyrna | Department of Corrections | CAT | D330 / 50 | 169922531 | 257
48 | James T. Vaughn Correctional Center, BUILDING R, Smyrna | Department of Corrections | DETROIT | 300DSE / 300 | 622235 | 295
49 | James T. Vaughn Correctional Center, BUILDING W, Smyrna | Department of Corrections | DETROIT | DDC550 / 550 | CH17556 | 423
50 | James T. Vaughn Correctional Center, BUILDING T-3, Smyrna | Department of Corrections | KOHLER | 135ROZJ / 135 | 693369 | 268
51 | James T. Vaughn Correctional Center, BUILDING 13, Smyrna | Department of Corrections | DETROIT | 300DSE / 300 | 622236 | 295
52 | James T. Vaughn Correctional Center, BUILDING 14, Smyrna | Department of Corrections | DETROIT | 500DS / 500 | 624203 | 423
53 | James T. Vaughn Correctional Center, BUILDING 15, Smyrna | Department of Corrections | DETROIT | 150DS60 / 100 | 620074 | 268
54 | James T. Vaughn Correctional Center, BUILDING 20, Smyrna | Department of Corrections | DETROIT | 600DS / 600 | 624221 | 447
55 | James T. Vaughn Correctional Center, BUILDING 24, Smyrna | Department of Corrections | DETROIT | 600DS / 600 | 624222 | 447
56 | James T. Vaughn Correctional Center, BUILDING 27, Smyrna | Department of Corrections | DETROIT | 150DS60 / 100 | 610219 | 268
57 | Central Violation of Probation, MAIN BUILDING, Smyrna | Department of Corrections | KOHLER | 250REOZD / 250 | 663955 | 298
58 | Delaware City DMV, New Castle | OBM, Facilities Management | Kohler | 150AZGC / GM80580-GA1 / 45kw | 5GM329T7J | 308
59 | Wilmington Forensic Building, (Medical Examiners Bldg) | OBM, Facilities Management | Kato Light | N125FPZ4 / 125 | 5GM329T7J | 308
KENT COUNTY
Line # | Location | AGENCY | Equipment | Model | Serial | Price per Visit
| Building/Site Name and City | Agency Name | Manufacturer Name | Model Number and Size (KW) | Serial Number
1 | Legislative Hall #1 | OMB, Facilities Management | Kohler | 500RZD81/132313-81 | 319989 | 423
2 | Jesse Cooper #2 | OMB, Facilities Management | Onan | 60DGCB/30488A | H880149257 | 257
3 | Townsend #3 | OMB, Facilities Management | Spectrum | 250DS60 | 363168 | 298
4 | Tatnall #8 | OMB, Facilities Management | Onan | 45.0DYJ-15R/18815D | J78036689 | 257
5 | Public Archives #13 | OMB, Facilities Management | Onan | 500DFED-3371623E | E990912462 | 423
6 | Supreme Court #14 | OMB, Facilities Management | Onan | 705JB-4RV/5640R | 268016920 | 268
7 | SBI #21 | OMB, Facilities Management | Delco | E5229H1 | 106-J-68 | 257
8 | Troop #3 #27 | OMB, Facilities Management | Onan | DGDK-5751864C | B060890627 | 268
9 | Kent County Fire Marshall #30 | OMB, Facilities Management | Kohler | NT855G4 Eng |  | 298
10 | Fire School #31 | OMB, Facilities Management | Delco | E-5232 | 69-J-65 | 257
11 | Fire School Maint. Shop #32 | OMB, Facilities Management | Kohler | 150ROZ281 | 216985 | 268
12 | TMC #36 | OMB, Facilities Management | Spectrum | 1000DS4/GM17865-GA1S | 721333 | 585
13 | New Courthouse #38 | OMB, Facilities Management | Katolight | 433PSL6216 | MX1377860909 | 257
14 | Family Court #42 | OMB, Facilities Management | Kohler | 20ROZ271/180104-71 | 211860 | 257
15 | DELDOT Admin #50 | OMB, Facilities Management | Cat | 3406 | 9DR04876 | 298
16 | Fac. Mgt Maint. Bldg #54 | OMB, Facilities Management | Cummins | GGHG-1208496L | G120361654 | 257
17 | DEMA #59 (old) | OMB, Facilities Management | Kohler | 1000ROZD/PA-132694 | 395238 | 268
18 | DEMA #59 (new) | OMB, Facilities Management | Kohler | 500REOZJ/GM76157-GA2 | SGM32297L | 423
19 | JP Court 7 #76 | OMB, Facilities Management | Kohler | 350REOZDD/GM41981-GA3 | 2332270 | 346
20 | James Williams Serv Ctr #78 | OMB, Facilities Management | Onan | GNAC-4955356B | A018200388 | 233
21 | Dept of Ag #79 | OMB, Facilities Management | Onan | 15RJC-4R8/2179 | C86223816 | 233
22 | R & R Bulding #86 | OMB, Facilities Management | Onan | 250.0DFM-17R/253101L | K820641870 | 298
23 | William Penn #82 | OMB, Facilities Management | Kohler | 750ROZD4 | 731952 | 492
24 | DMV Admin UPS Unit | OMB, Facilities Management | Kohler | 800REOZMB/GM31728-GA5 | 2310022 | 492
25 | DSP Headquarters/ Dover | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | I960617713 | 268
26 | DOT Sign Shop/ Dover | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | B070025976 | 257
27 | Kent Radio Shop/ Camden | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | I960617302 | 257
28 | Lake Forest H.S./ Felton | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | I960617714 | 268
29 | Hartly VFD/ Hartly | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | 1606988078B | 268
30 | Milford VFD/ Milford | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | J050845354R | 268
31 | Dover PD/ Dover | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | J050845352R | 268
32 | Woodside Site/ Woodside | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | C070040655 | 268
33 | Harrington Site/ Harrington | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | F070025575A | 268
34 | Kent Work Release Center, MAIN BUILDING, Dover | Department of Corrections | KOHLER | 250REOZD / 250 | 662508 | 298
SUSSEX COUNTY
Line # | Location | AGENCY | Equipment | Model | Serial | Price per Visit
| Building/Site Name and City | Agency Name | Manufacturer Name | Model Number and Size (KW) | Serial Number
1 | Troop #5 Bldg 34 | OMB, Facilities Management | Kohler | 200REOZJB/GM19534-GA6 | 2039851 | 298
2 | Sussex DMV #63 | OMB, Facilities Management | Spectrum | 100DSEJB | 209322 | 268
3 | Sussex County Court House #64 | OMB, Facilities Management | Kohler | 60REOZJB | 0754606 | 257
4 | Sussex County Fire School #66 | OMB, Facilities Management | Kohler | 100ROZJ81/189610-81 | 293295 | 268
5 | JP Court 3/17 #67 | OMB, Facilities Management | Kohler | 80REOZJD/GM51053 | 2209605 | 268
6 | Sussex County Maint Shop #01 | OMB, Facilities Management | Kohler | 60ERES/GM66911-GA6 | 2333464 | 257
7 | Milton Tower Site/ Milton | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D040630366 | 268
8 | SSX County Radio Shop/ Bridgeville | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | H950584384 | 257
9 | SSX County Radio Shop/ Bridgeville | Dept of Safety and Homeland Security | Cummins/Onan | 125DGEB - 125KW | F070069233 | 268
10 | Seaford Center/ Seaford | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | F970640757 | 268
11 | Bethany Beach/ Frankford | Dept of Safety and Homeland Security | Cummins/Onan | 100DGDB - 100KW | 46720497 | 268
12 | DOT Admin/ Georgetown | Dept of Safety and Homeland Security | Cummins/Onan | 35DGBB - 35KW | F070069234A | 257
13 | Rehoboth Tower Site/ Rehoboth | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D020363697 | 268
14 | Dagsboro Fire Tower/ Dagsboro | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | F97060758 | 268
15 | Rehoboth Water Tank/ Rehoboth | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | D040630368 | 268
16 | Laurel DOT/ Laurel | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDA - 80KW | K050852646R | 268
17 | Williamsville Site/ Selbyville | Dept of Safety and Homeland Security | Cummins/Onan | OTECC300 - 80KW | F070069237A | 268
18 | Lewes Site/ Lewes | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | F070069235A | 268
19 | Georgetown Site/ Georgetown | Dept of Safety and Homeland Security | Cummins/Onan | 80DGDB - 80KW | F070069234 | 268
20 | Sussex Correctional Institution, MAINTENANCE, Georgetown | Department of Corrections | KOHLER | 200ROZJ / 200 | 607331 | 298
21 | Sussex Correctional Institution, KITCHEN, Georgetown | Department of Corrections | KOHLER | 500ROZD / 500 | 382006 | 423
22 | Sussex Correctional Institution, BC / PI, Georgetown | Department of Corrections | KOHLER | 300ROZD / 300 | 380776 | 346
23 | Sussex Correctional Institution, PRE-TRIAL, Georgetown | Department of Corrections | KOHLER | 500ROZD / 500 | 380057 | 423
24 | Sussex Correctional Institution, ARMORY, Georgetown | Department of Corrections | KOHLER | 30RZ (LP GAS) / 30 | 661206 | 233
25 | Sussex Correctional Institution, CLOSE CUSTODY, Georgetown | Department of Corrections | CAT | 275REOZD / 300 | 742913 | 346
26 | Sussex Correctional Institution, LIFT STATION, Georgetown | Department of Corrections | KOHLER | 80RZ (LP GAS) / 80 | 380877 | 257
27 | Sussex Violation of Probation Center, MAIN BUILDING, Georgetown | Department of Corrections | KOHLER | 250REOZD / 250 | 636953 | 312
28 | Sussex Work Release Center, MAIN BUILDING, Georgetown | Department of Corrections | KOHLER | 60ROZ281 / 60 | 44265411 | 257
Note on A67: Fry, Maria (OMB): Addendum #2 Added location 12/18/14
Note on A68: Fry, Maria (OMB): Addendum #2 Added location 12/18/14

## PREMIUM REPAIRS & TRAINING
PRICE SHEET
Generator Maintenance and Repair
GSS14679-GEN_PM_REP
Repairs, Parts and Training
Vendor Name: | Premium Power Services, LLC.
GENERATOR REPAIR - HOURLY RATE
DOC | Mon-Fri 7:00AM-3:00PM | Mon-Fri 3:01PM-6:59AM + Weekends & Holidays
Job Title | Hourly Rate | Hourly Rate
Generator Technician | 85 | 125
Licsensed Electrician | 85 | 125
Helper | 75 | 110
All Other Locations | Mon-Fri 8:00AM-4:30PM | Mon-Fri 4:31PM-7:59AM + Weekends & Holidays
Job Title | Hourly Rate | Hourly Rate
Generator Technician | 85 | 125
Licsensed Electrician | 85 | 125
Helper | 75 | 110
PART DISCOUNTS
Parts/Materials | Discount Level
OEM Parts | -10%
Replacement Batteries | -20%
All Other Parts
DELIVERY
Delivery | Days ARO
Stock Parts | 1
Non Stock Parts | 1 to 2
TRAINER
POC Name: | Keith Eller
POC Phone: | 610-444-1232
POC Email: | keith.eller@premiumpowerservices.com

## PREMIUM - DelDOT EQUIP
|  | PRICE SHEET |  |  | Effective 12/7/14
Vendor Name: |  | Generator Maintenance and Repair
Premium Power Services LLC |  | GSS14679-GEN_PM_REP
DelDOT
Line # | Location | Agency | Equipment | Model |  | Serial | Price per Visit
| Building/Site Name and City | Address | Manufacturer Name | Model Number and Size (KW) |  | Serial Number
1 | Area 9 - Middletown (Unit 1) | 5369 Summit Bridge Rd., Middletown | Taylor Power | DS150M3 | 150KW | TP21594 | 268
2 | Area 9 - Middletown (Unit 2)Chic Shd | 5369 Summit Bridge Rd., Middletown | Taylor Power | DS150M3 | 150KW | TP21926 | 268
3 | Area 10 - Bear Yard (Shop) | 250 Bear-Christiana Rd., Bear | Himoinsa | HPW375T6 | 350KW | 7100679 | 308
4 | Area 10 - Bear Yard (Sheds) | 250 Bear-Christiana Rd., Bear | Himoinsa | HPW145M6 | 150KW | 8106695 | 268
5 | Area 10 - Bear Yard (Admin) | 251 Bear-Christiana Rd., Bear | Himoinsa | HFW 375T6 | 350KW | 7100795 | 308
6 | Area 22 - Sod Farm | 5025 DuPont Pkwy., Smyrna | Taylor Power | DS35OM3 | 300KW | TP21584 | 308
7 | Area 21 - Magnolia Float Crew | 1235 Briarbush Rd., Magnolia | Taylor Power | DS150M3 | 150KW | TP21593 | 268
8 | Area 21 - Magnolia Float Crew | 1235 Briarbush Rd., Magnolia | Taylor Power | DS150M3 | 150KW | TP21779 | 268
9 | Area 8 - Cheswold | 4275 Seven Hickories Rd., Cheswold | Taylor Power | DS150M3 | 150KW | TP21592 | 268
10 | Area 8 - Cheswold | 4276 Seven Hickories Rd., Cheswold | Taylor Power | DS150M3 | 150KW | TP21594 | 268
11 | Area 7 - Magnolia | 1235 Briarbush Rd., Magnolia | Taylor Power | DS150M3 | 150KW | TP21596 | 268
12 | Area 6 - Harrington | 129 Jackson Ditch Rd., Harrington | Taylor Power | DS150M3 | 150KW | TP21591 | 268
13 | Area 6 - Harrington | 130 Jackson Ditch Rd., Harrington | Taylor Power | DS150M3 | 150KW | TP21833 | 268
14 | Area 6 - Harrington | 131 Jackson Ditch Rd., Harrington | Taylor Power | DS150M3 | 150KW | TP21597 | 268
15 | Sign Shop (not enoughfor Air Cond) | 10 Sign Shop Rd., Dover | Cummins/Onan | 140G855 | 140KW | 25182946 | 287
16 | Central Admin Office/Trk Shop | 930 Public Safety Blvd., Dover | Taylor Power | DS300M3 | 300KW | TP21582 | 308
17 | Chapman Rd. Admin/Shop | 39 E. Regal Blvd, Newark | Himoinsa | HPW290T6 | 300KW | 8105417 | 308
18 | Area 11 - Kiamensi | 815 Stanton Rd., Wilmington | Taylor Power | DS150M3 | 150KW | TP21989 | 268
19 | Area 11 - Kiamensi | 816 Stanton Rd., Wilmington | Taylor Power | DS60M3 | 60KW | TP21987 | 268
20 | Area 11 - Kiamensi | 817 Stanton Rd., Wilmington | Taylor Power | DS60M3 | 60KW | TP21986 | 268
21 | Area 11 - Kiamensi | 818 Stanton Rd., Wilmington | Taylor Power | DS60M3 | 60KW | TP21988 | 268
22 | Area 12 - Talley | 1300 Talley Rd., Wilmington | Kohler | 125REOZJD | 150KW | 2238798 | 268
23 | Area 1 - Laurel | 10930 Salt Barn Rd., Laurel | Taylor Power | DS150M3 | 150KW | TP21588 | 268
24 | Area 2 - Seaford | 22136 Bridgeville Hwy, Seaford | Taylor Power | DS150M3 | 150KW | TP22174 | 268
25 | Area 3 - Ellendale | 20368 Milton-Ellendale Hwy, Ellendale | Taylor Power | DS150M3 | 150KW | TP21590 | 268
26 | Area 4 - Gravel Hill | 20106 Gravel Hill Rd., Georgetown | Taylor Power | DS150M3 | 150KW | TP21586 | 268
27 | Area 5 - Dagsboro | 27643 Dagsboro Rd., Dagsboro | Taylor Power | DS150M3 | 150KW | TP21585 | 268
28 | Area 20 - Gravel Hill | 24450 Lewes-Georgetown Rd. Georgetown | Taylor Power | DS150M3 | 150KW | TP21587 | 268
29 | Rehoboth Draw Bridge | Rehoboth Ave. (Del. Rt.1A), Rehoboth | Taylor Power | DS150M3 | 150KW | TP21581 | 268
30 | Lewes Draw Bridge | Savanah Bridge, Lewes | Onan | 15R/24530 | 75KW | 603604 | 268
31 | Georgetown Admin/Shop | Route 113, Georgetown | Himoinsa | HFW 375T6 | 350KW | 8105737 | 308
32 | Cedar Creek Bridge #164 | Rte 36, Milford, DE | Onan | EZ200188 | 5KW | E200188 | 257
33 | Resource Center | 96 Sign Shop Lane, Dover | Taylor Power | DS150M3 | 150KW | TP21598 | 268
34 | I-95 Toll Admin Center | 1200 Whitaker Rd., Newark | Taylor Power | DS35OM3 | 350KW | TP21583 | 308
35 | Biddles Corner Plaza | 2111 DuPont Hwy., Middletown | Cat | KVG | 350KW | KVG-436 | 308
36 | Dover Toll Plaza | 200 Plaza Rd., Dover | Onan | 350DFCC | 350KW | J920487696 | 308
37 | South Smyrna Ramp N.B | South Smyrna N.B Ramp East of SR.1 | Onan | 20DGAB | 20KW | H920480399 | 257
38 | Deneys Rd. Toll Plaza | 100 Denneys Rd., Dover | Onan | 250DFAC | 250KW | 1920484253 | 308
39 | Smyrna Rest Area | 5500 DuPont Highway, Smyrna | Onan | DGDK-5007287 | 125KW | A020322458 | 268
40 | Boyds Corner Ramp | East of US13, S.B SR.1 Ramp | Generack | SG035-K364 | 35KW | 98A02180/21137 | 257