## Pricing Spreadsheet
CONTRACT NUMBER: GSS15129-PLUMB_SUPL
CONTRACT NAME: Plumbing Supplies
Appendix A Pricing Spreadsheet
Addendum #1
CORE ITEM PRICING LIST
(NEW CASTLE COUNTY, KENT COUNTY, SUSSEX COUNTY PRICING)
| Manufacturer | Part/Model Number | Item Description | Unit of Measure | Best Plumbing Specialties | Pricing Effective 4/1/2017 Best Plumbing Specialties | Delaware Plumbing Supply | Conney Brother's Inc. | Ferguson Enterprises
1 | Goulds | WS0532B | Submersible Sewage Pump, 1/2 hp, 230v, 3 ph,20' cord | EA | 897.5 | 897.5 | 580 | 808.74 | 293.21
2 | Proflo | PFWR | Standard Wax Ring | EA | 1.93 | 1.05 | 0.65 | No Quote | 1.07
3 | Proflo | PFWRXW | Extra Thick Petroleum Wax Ring | EA | 4.46 | 4.46 | 1.49 | No Quote | 2.1
4 | Proflo | PFWRWHXW | Extra Thick Petroleum Wax Ring with Flanged Horn | EA | 5.17 | 2.15 | 0.84 | No Quote | 2.57
5 | Sloan | 3323182 V651A | vacuum breaker repair kit | EA | 1.55 | 1.55 | 2.3 | 2.35 | 2.75
6 | Sloan | 3301041 A41A | Regal Flush Meter Inside Parts Repair Kit | EA | 11.99 | 11.99 | 16.85 | 20.37 | 17.85
7 | Bemis | 500EC | Residential Molded Wood Toilet Seat-Almond | EA | 14.32 | 14.32 | 11.5 | 14.44 | 13.6
8 | Bemis | 500EC | Residential Molded Wood Toilet Seat-White | EA | 12.61 | 12.61 | 10.2 | 11.3 | 11.7
9 | Stratford Hall | 8930-95 | Outdoor Entrance Wall Light | EA | 294.38 | 294.38 | No Quote | No Quote | NQ
10 | Moen | M8800 | "Wrist Blade" 4" Centerset Commercial Bathroom Sink Faucet-Chrome | EA | 95.01 | 95.01 | 90.9 | 105.43 | 94.61
11 | Moen | M7445 | "Chateau" Single Handle Kitchen Faucet-Chrome | EA | 74.95 | 74.95 | 68.95 | 88.43 | 70.97
12 | PROFLO | PFWS3016CP | 4'' Centerset Bathroom Sink Faucet-Chrome | EA | 76.71 | 76.71 | 68 | NQ | 42.49
13 | Delta | D520MPUDST | Faucet "Classic" 4'' Centerset Bathroom Sink Faucet-Chrome | EA | 29.96 | Catalog Discount | 81.7 | 94.13 | 83.46
14 | Delta | D1980DST | Faucet "Pilar" 4'' Centerset Bar Faucet-Chrome | EA | 175.39 | 175.39 | 159.95 | 183.73 | 166.18
15 | Bemis | B1500EC000 | Toilet Seat-White | EA | 15.89 | 15.89 | 13.57 | 14.79 | 15.32
16 | Bemis | B1500EC146 | Toilet Seat-Almond | EA | 17.73 | 17.73 | 14.92 | 18.42 | 17.34
17 | PROFLO | PFTSCOF2000BL | Toilet Seat-Black | EA | 26.9 | 18.53 | 16.75 | No Quote | 24.27
18 | PROFLO | PFTSCOF2000WH | Toilet Seat-White | EA | 24.2 | 18.53 | 16.75 | No Quote | 18.75
19 | Moen | M393 | Tub Spout-Chrome | EA | NQ | 0 | No Quote | 32.54 | NQ
20 | Moen | M3931 | Tub Spout-Chrome | EA | 28.19 | 28.19 | 26.74 | 32.54 | 31.84
21 | PROFLO | PFX7002M | Laundry Faucet-Chrome | EA | 52.48 | 52.48 | 39.84 | No Quote | 30.9
22 | PROFLO | PFWS6002M | 4'' Centerset Bar Faucet-Chrome | EA | 53.23 | 53.23 | 51.86 | No Quote | 31.34
23 | PROFLO | PFWS1012ML | 4'' Centerset Bathroom Sink Faucet | EA | 49.68 | 49.68 | 55.89 | No Quote | 29.25
24 | PROFLO | PFWS336M | 4'' Centerset Bar Faucet | EA | 87.46 | 87.46 | 89 | No Quote | 51.5
25 | Kohler | K4467-RA-0 | "Wellworth" Toilet Tank Part-White | EA | 133.2 | 133.2 | 73.45 | 83.8 | 72.9
26 | Kohler | K4467-0 | "Wellworth" Toilet Tank Part-White | EA | 133.2 | 133.2 | 73.45 | 83.8 | 72.9
27 | PROFLO | PF5110BSM | Toilet Tank Part-Bicuit | EA | 151.84 | 151.84 | 41.3 | No Quote | 58.14
28 | PROFLO | PF1403TWH/PF5110WHM | "Low Consumption" Two Piece Toilet | EA | 290.99 | 290.99 | 69 | No Quote | 143.18
29 | PROFLO | PFCWP100 | 1-1/2 X 16 Plastic Center Outlet Waste w/ Baffle Tee-White | EA | 5.5 | 5.5 | 5.8 | No Quote | 4.3
30 | PROFLO | PFPTB200 | P-Trap-Chrome | EA | 18.1 | 18.1 | 7.93 | No Quote | 11.89
31 | Acorn | 0401-014-001 | O-Rings | 10/pk | 6.75 | 7.17 | 8.4 | 8.71 | 11.25
32 | Acorn | 0326-100-001 | Air-Trol(R) Retainer Clips | 10/pk | 6.75 | 7.17 | 8.4 | 8.71 | 11.25
33 | Acorn | 0401-015-001 | O-Ring | 10/pk | 6.75 | 7.17 | 8.4 | 8.71 | 11.25
34 | Acorn | 0401-016-001 | O-Ring | 10/pk | 6.75 | 7.17 | 8.4 | 8.71 | 11.25
35 | Acorn | 0469-005-000 | Flow Controls | EA | 1.95 | 2.07 | 3.29 | 3.36 | 4.33
36 | Acorn | 2153-010-199 | Air Control Red Hose for Valves, 1/8 In. Od X 10 Ft. | EA | 8.5 | 9.02 | 10.35 | 10.97 | 14.17
37 | Acorn | 2563-003-001 | Actuator Spring, Plumbing, For Use With Washfountains | 10/pk | 0.68 | 0.68 | 8.4 | 8.71 | 11.25
38 | Acorn | 2563-008-001 | Orifice Plate Spring for Servo-Meter | EA | 0.68 | 0.68 | 8.4 | 8.71 | 11.25
39 | Acorn | 2563-010-001 | Water Diaphragm Assembly | EA | 5.07 | 5.42 | 8.4 | 8.71 | 11.25
40 | Acorn | 2563-020-002 | Metering Servomotor Assembly | EA | 56.48 | 61.96 | 89.4 | 97.15 | 125.51
41 | Acorn | 2563-022-000 | Metering Diaphragm | EA | 2.44 | 2.67 | 4.12 | 4.2 | 5.41
42 | Acorn | 2563-023-001 | Diaphragm Spring | PK | 0.68 | 0.68 | 8.4 | 8.71 | 11.25
43 | Acorn | 2566-001-000 | Air Control Diaphragm | EA | 4.28 | 4.67 | 7.1 | 7.35 | 9.51
44 | Acorn | 2570-025-000 | Lower Valve Body | EA | 18.45 | 19.26 | 23 | 23.8 | 30.75
45 | Acorn | 2570-026-000 | Air-Trol Right Hand Valve Body Assembly | EA | 18.45 | 19.26 | 23 | 23.8 | 30.75
46 | Acorn | 2570-027-000 | Air-Trol Left Hand Valve Body Assembly | EA | 18.45 | 19.26 | 23 | 23.8 | 30.75
47 | Acorn | 2570-028-001 | O-Ring Coupler Assemble Male X Male | EA | 6.75 | 7.17 | 8.4 | 8.71 | 11.25
48 | Acorn | 2570-041-000 | Mixing Tee | EA | 6.2 | 6.73 | 7.74 | 8 | 10.33
49 | Acorn | 2570-042-000 | Flo-Control Adapter | EA | 5.3 | 5.64 | 24.75 | 6.84 | 8.84
50 | Acorn | 2563-020-002 | Metering Servomotor Assembly w/ Seat | EA | 56.48 | 59.63 | 89.3 | 97.15 | 125.51
51 | Charlotte Pipe & Foundry | CPFGPF10 | 3/4 X 10 CPVC Flowguard Gold Pipe | EA | 16.57 | 6.22 | 4.45 | 66.74 | 5.14
52 | I-CON | CTR-X12-AC-08-2E2F-001 | Battery Powered Controllers, 2 Combie, 2 Flush | EA | 501.43 | 501.43 | 405.9 | 505.84 | 501.43
53 | I-CON | CTR-X12-AC-08-2EFH-001 | Battery Powered Controllers, 2 Combie, 1 Flush, 1 Hot | EA | 501.43 | 501.43 | 405.9 | 505.84 | 501.43
54 | I-CON | TRS-PI-120V-50VA | Plug-In Transformer 1.25 AMP (50VA | EA | 43.15 | 43.15 | 34.55 | 43.65 | 43.15
55 | I-CON | VLV-FVL-3801-E-0914-002 | Elbowed Flush Valve with 24VAC TruFIRE® Solenoid | EA | 205.22 | 205.22 | 163.66 | 207.58 | 205.21
56 | I-CON | VLV-SHW-5775-1010-S-0914-002 | 5/8" OD Inlet and Outlet Fittings with 24VAC TruFIRE® Solenoid and Strainer | EA | 147.42 | 147.42 | 117.55 | 149.38 | 147.41
57 | I-CON | VLV-SHW-5775-1010-S-6214-002 | 5/8" OD Inlet and Outlet Fittings with 9VDC TruFIRE® Solenoid and Strainer | EA | 162.85 | 162.85 | 129.88 | 164.9 | 162.85
58 | I-CON | VLV-SHW-5775-1010-Z-0914-002 | 5/8" OD Inlet and Outlet Fittings with 24VAC TruFIRE® Solenoid and No Strainer | EA | 102.49 | 102.49 | 81.7 | 103.79 | 102.49
59 | I-CON | VLV-SHW-5775-1010-Z-6214-002 | 5/8" OD Inlet and Outlet Fittings with 9VDC TruFIRE® Solenoid and No Strainer | EA | 117.93 | 117.93 | 94 | 119.31 | 117.93
60 | I-CON | VLV-LAV-4811 | Lavatory manifold valve : One Lavatory | EA | 241.78 | 241.78 | 300 | 244.44 | 241.78
61 | I-CON | VLV-SHW-5603-0914-002-HF | Triple Station Shower with 24VAC TruFIRE® Solenoid | EA | 432.88 | 432.88 | 340 | 436.5 | 432.88
62 | I-CON | VLV-LAV-4202-6214-002 | Cartridge with 9VDC TruFire® Solenoid | EA | 326.07 | 326.07 | 300 | 113.49 | 326.06
63 | I-CON | VLV-AUX-1302 | Flow control check stop with integrated strainer | EA | 61.38 | 61.38 | 49 | 62.08 | 61.38
64 | I-CON | WR-SEN-WT-4C-006 | Force Activated Touch Sensor 6' Extension | EA | 6.32 | 6.32 | 5.25 | 8.73 | 6.31
65 | I-CON | WR-SEN-WT-4C-015 | Force Activated Touch Sensor 15' Extension | EA | 16.94 | 16.94 | 13.55 | 18.43 | 16.94
66 | I-CON | WR-SEN-WT-4C-025 | Force Activated Touch Sensor 25' Extension | EA | 24.02 | 24.02 | 19.2 | 24.25 | 24.01
67 | I-CON | WR-SEN-WT-4C-035 | Force Activated Touch Sensor 35' Extension | EA | 31.09 | 31.09 | 24.87 | 32.01 | 31.09
68 | I-CON | WR-SEN-WT-4C-060 | Force Activated Touch Sensor 60' Extension | EA | 48.8 | 48.8 | 39 | 49.47 | 48.8
69 | I-CON | WR-SLD-WT-24VAC-4C-006 | 24VAC Solenoid 6' Extension | EA | 6.32 | 6.32 | 5.15 | 8.73 | 6.31
70 | I-CON | WR-SLD-WT-24VAC-4C-015 | 24VAC Solenoid 15' Extension | EA | 16.94 | 16.94 | 13.55 | 18.43 | 16.94
71 | I-CON | SLD-0914-002 | Standard Flow with No Extension (Extension Required for Use) | EA | 34.28 | 34.28 | 27.41 | 34.92 | 34.28
72 | I-CON | SLD-0914-002-HF | High Flow with No Extension (Extension Required for Use) | EA | 38.53 | 38.53 | 30.81 | 38.8 | 38.53
73 | I-CON | EUC-BAT-0109 | Battery Pack | EA | 30.7 | 30.7 | 24.55 | 32.01 | 30.7
74 | I-CON | MHW-VB-5011 | vacuum breaker rebuild kit | EA | 7.98 | 7.98 | 6.4 | 9.7 | 7.98
75 | I-CON | EUC-RKT-3711 | Rebuild Kit | EA | 25.12 | 25.12 | 20.08 | 26.19 | 25.11
76 | I-CON | EUC-RKT-5775 | Rebuild Kit | EA | 34.38 | 34.38 | 27.5 | 34.92 | 34.38
77 | I-CON | EUC-RKT-3801 | Rebuild Kit for 3700 & 3800 ser | EA | NQ | 0 | 20.1 | 26.19 | 25.11
78 | I-CON | SEN-1501-002 | TruTouch Sensor Assembly; Standard | EA | 73.57 | 73.57 | 58.85 | 74.69 | 73.56
79 | I-CON | MHW-PLT-1005 | Escutcheon; Round 2-3/8" OD | EA | 7.02 | 7.02 | 5.65 | 8.73 | 7.01
80 | I-CON | MHW-CDA-0390 | Core Drill Part; Adaptor | EA | 13.68 | 13.68 | 10.95 | 16.49 | 13.68
81 | I-CON | VLV-LAV-4812-0914-002 | Element Valve Assembly; SS Lav | EA | 379.53 | 379.53 | 300 | 383.15 | 379.53
82 | I-CON | CTR-X11.3-B-01-F-103 | Controller; x11.3; 1 IO; Battery | EA | 155.82 | 155.82 | 124.6 | 158.11 | 155.81
83 | I-CON | EUC-BAT-0110 | Battery Pack; 1 IO Battery Controller | EA | 30.7 | 30.7 | 24.55 | 32.01 | 30.7
84 | I-CON | FXR-SHW-2229 | Shower Head; Chrome/Brass Fixed | EA | 78.47 | 78.47 | 62.75 | 79.54 | 78.46
85 | I-CON | NTC-HHP-2000 | Programmer; Handheld; Tablet Diagnostic Controller | EA | 3149.02 | 3149.02 | 2472 | 3053.56 | 3149.01
86 | I-CON | NTC-CAM-X12-RLA | Controller add-on module; Run Time | EA | 106.24 | 106.24 | 84 | 107.67 | 106.24
87 | I-CON | MC-VLV-CMN-2090 | Valve Part; Body; Pneumatic Block; Plastic | EA | 55.1 | 55.1 | 44 | 56.26 | 55.1
88 | I-CON | MC-OR-0012-EPDM | O-Ring; Dash 012; 1/16" THK; 3/8" ID; 1/2" OD; EPDM | EA | 1.23 | 1.23 | 1 | 2.91 | 1.23
89 | I-CON | VLV-SHW-5775-0000-Z | Valve Assembly; Shower; Raw | EA | 49.57 | 49.57 | 39 | 49.47 | 49.56
90 | I-CON | SLD-214-002 | Solenoid Assy; Battery; 2' Lead | EA | 49.73 | 49.73 | 39.75 | 49.47 | 49.73
91 | I-CON | VLV-FVL-3801-E2-0914-002 | Valve Assy; Momentum Flush; Retrofit; Elbowed | EA | 205.22 | 205.22 | 164 | 207.58 | 205.21
92 | Oatey | 30751 | Clear Primer - 8 oz | EA | 4.1 | 4.1 | 4.13 | 4.77 | 4.6
93 | Oatey | 30752 | Clear Primer - 16 oz | EA | 7.13 | 7.13 | 7.2 | 6.97 | 8
94 | Oatey | 30756 | Purple Primer- 8 oz | EA | 4.08 | 4.08 | 3.5 | 3.96 | 4.73
95 | Oatey | 30757 | Purple Primer – 16 oz | EA | 6.19 | 6.19 | 6.35 | 6.97 | 6.54
96 | Oatey | 30821 | All Purpose Cement – 8 oz | EA | 4.04 | 4.04 | 4.25 | 4.77 | 4.68
97 | Oatey | 30834 | All Purpose Cement – 16 oz | EA | 7.04 | 7.04 | 8.4 | 9.65 | 9.91
98 | Oatey | 31013 | PVC Clear Cement – 8 oz | EA | 3.08 | 3.08 | 3.93 | 4.4232 | 4.26
99 | Oatey | 31014 | PVC Clear Cement – 16 oz | EA | 5.3 | 5.3 | 5.7 | 6.54 | 6.3
100 | Oatey | 30891 | PVC Blue Cement – 8 oz | EA | 3.88 | 3.88 | 5.35 | 6.31 | 5.8
101 | Oatey | 30893 | PVC Blue Cement – 16 oz | EA | 6.44 | 6.44 | 8 | 9.36 | 8.51
102 | Oatey | 30863 | Heavy Duty PVC Clear Cement – 8 oz | EA | 4.3 | 4.3 | 5.1 | 6.11 | 4.83
103 | Oatey | 30876 | Heavy Duty PVC Clear Cement – 16 oz | EA | 6.99 | 6.99 | 7.05 | 9.8 | 6.88
104 | Oatey | 31129 | CPVC Orange Cement – 8 oz | EA | 4.04 | 4.04 | 4.2 | 4.77 | 5.23
105 | Oatey | 31130 | CPVC Orange Cement – 16 oz | EA | 10.17 | 10.17 | 9.98 | 11.58 | 11.43
106 | Oatey | 31911 | CPVC Flowguard Gold Cement – 8 oz | EA | 6.11 | 6.11 | 5.5 | 6.4 | 6.33
107 | Oatey | 31912 | CPVC Flowguard Gold Cement – 16 oz | EA | 8.87 | 9.87 | 9.2 | 10.96 | 10.31
Note on J9: Newman, Theresa L (OMB):PF93501 - 1/2 HP CI SEW PUMP
Note on H19: Newman, Theresa L (OMB): Moen 67425
Note on J19: Newman, Theresa L (OMB):OBSOLETE - SUB - M7425 SINGLE HANDLE KITCH FCT
Note on H20: Newman, Theresa L (OMB): Moen L64621
Note on H25: Newman, Theresa L (OMB): Bemis 1955C Black
Note on H26: Newman, Theresa L (OMB): Bemis 1955C White
Note on H29: Newman, Theresa L (OMB): Moen 74998
Note on J29: Newman, Theresa L (OMB): NLA - SUB - PFX8022M
Note on H30: Newman, Theresa L (OMB): Moen 4903
Note on J30: Newman, Theresa L (OMB): NLA - SUB -PFWS6024CP
Note on H31: Newman, Theresa L (OMB): Moen 64970
Note on J31: Newman, Theresa L (OMB): NLA - SUB - PFWS5670CP
Note on H32: Newman, Theresa L (OMB): Moen 8938
Note on J32: Newman, Theresa L (OMB): NLA - SUB - PFWS436CP
Note on H35: Newman, Theresa L (OMB): Vortens 3412-07
Note on H36: Newman, Theresa L (OMB): Vortens 3412-02/3208-02
Note on H37: Newman, Theresa L (OMB): Keeney 130-21W
Note on H38: Newman, Theresa L (OMB): Keeney 300CP
Note on H39: Newman, Theresa L (OMB): PKG of 10
Note on H40: Newman, Theresa L (OMB): PKG of 10
Note on H41: Newman, Theresa L (OMB): PKG of 10
Note on H42: Newman, Theresa L (OMB): PKG of 10
Note on H46: Newman, Theresa L (OMB): PKG of 10
Note on I46: Newman, Theresa L (OMB): 10 pk
Note on H50: Newman, Theresa L (OMB): PKG of 10
Note on F59: Newman, Theresa L (OMB): must be cut into 5 ft lengths for shipping
Note on J63: Newman, Theresa L (OMB):VLV-FVL-3801-E3-0914-002
Note on H68: Newman, Theresa L (OMB): VLV-LAV-4821-0914-002
Note on J68: Newman, Theresa L (OMB): VLV-LAV-4821-0914-002
Note on J70: Newman, Theresa L (OMB): VLV-SHW-5602-6214-002
Note on J81: Newman, Theresa L (OMB):EUC-BAT-0110 - BATTERY PACK
Note on J83: Newman, Theresa L (OMB): EUC-RKT-3801- REBUILD KIT
Note on J88: Newman, Theresa L (OMB): MHW-CDA-0391- CORE DRILL PART ADAPTER
Note on J89: Newman, Theresa L (OMB): VLV-LAV-4822-0914-002 - ELEMENT
Note on J98: Newman, Theresa L (OMB): SLD-6214-002 - SOLENOID ASSY
Note on J99: Newman, Theresa L (OMB): VLV-FVL-3801-E3-0914-002
Note on I100: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on I101: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on F102: Newman, Theresa L (OMB): CQ 24 REQUIRED
Note on I102: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on F103: Newman, Theresa L (OMB): CQ 24 REQUIRED
Note on I103: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on I104: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on I105: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on I106: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on I107: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on I108: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on I109: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on F110: Newman, Theresa L (OMB): CQ 24 REQUIRED
Note on I110: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on F111: Newman, Theresa L (OMB): CQ 24 REQUIRED
Note on I111: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on I112: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on F113: Newman, Theresa L (OMB): CQ 24 REQUIRED
Note on I113: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on F114: Newman, Theresa L (OMB): CQ 24 REQUIRED
Note on I114: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity
Note on F115: Newman, Theresa L (OMB): CQ 24 REQUIRED
Note on I115: Newman, Theresa L (OMB): price quoted is each, but item only furnished in case quantity

## Catalog and Discounts
CONTRACT NUMBER: GSS15129-PLUMB_SUPL
CONTRACT NAME: Plumbing Supplies
Appendix A Catalog Discounts
Catalog Discounts
CONTRACT NO. GSS12129-PLUMBING_SUPL
Percentage off of non-contracted catalog items | BEST PLUMBING SPECIALTIES | Delaware Plumbing Supply | Conney Brother's Inc. | Ferguson Enterprises
| 20% | 35% | Spirax: 8%, Crane: 53%, Apollo: 13%, Trerice: 8% | 11.6
Ship Stock ARO (IN DAYS) | 1 day | 1 day | 1 to 3 | 1 DAY
Ship Non-Stock ARO (IN DAYS) | 7-10 days | 2 days | 2 to 5 | 1-5 DAYS
Pick up Locations Available | 3039 Ventrie Ct, Myersville,MD 21773 | 2309 North Dupont Highway, New Castle De 19720, | 1850 Gravers Rd #100 Plymouth Meeting, PA 19462 | Millsboro DE
|  | 1561 Pulaski Highway Bear, De 19701 |  | Salisbury, MD
|  | 16816 S.Dupont Hwy, Harrington De 19952 |  | Wilmington, DE
Dover, DE
Business Hours | 8am-5pm | M-F 7AM-5PM | 7AM to 5PM | M-F 7am-5pm