## Table of Contents
Tab Information and Comments
Tab Name | Comments
Instructions | General Information and Instructions for completing the workbook. Additional instructions may be found on each tab.
Vendor Info. | This tab is to capture the Point of Contact Information for your company.
Maintenance | This tab is to capture the type of service per location.
Pricing | This tab is to capture the cost of service, hours of operation, hourly rate and repair part mark-up.

## Instructions
General Information and Instructions
• | YOUR PROPOSAL MUST BE SUBMITTED IN EXCEL FORMAT ON CD
• | ONE (1) COMPLETE HARD COPY OF THIS APPENDIX A MUST ACCOMPANY YOUR BID
• | WRITE YOUR COMPANY NAME AND CONTRACT NUMBER ON THE CD
• | DO NOT MAKE ANY CHANGES TO THE ELECTRONIC EXCEL FILE FORMATS, INCLUDING ADDING ROWS OR COLUMNS, CHANGING COLUMN HEADERS, INPUTTING TEXT IN NUMERIC FIELDS. COMMENTS MADE ON THE SPREADSHEET WILL BE IGNORED.
• | SAVE YOUR CHANGES UNDER THE SAME FILENAME.
• | ENTER ALL INFORMATION DIRECTLY INTO THE RELEVANT EXCEL SPREADSHEET CELLS IN "NUMBER" (TWO-PLACE DECIMAL), NOT "CURRENCY" OR OTHER FORMAT UNLESS OTHERWISE STATED. THAT IS, OMIT DOLLAR SIGNS, COMMAS, AND ANY OTHER NON-ESSENTIAL SYMBOLS.
• | ENTER "N/A" TO INDICATE NOT AVAILABLE. ENTER "0" TO INDICATE THERE IS NO CHARGE. CELLS LEFT BLANK WILL BE INTERPRETED AS "NO BID".
• | PLEASE ONLY FILL IN AREAS HIGHLIGHTED IN YELLOW.
• | SEE INDIVIDUAL TABS FOR ADDITIONAL INSTRUCTIONS.
• | PROPOSALS MUST BE RECEIVED NO LATER THAN 1:00 P.M. ON Thursday,February 11, 2016 AT:
State of Delaware, Government Support Services Attn: Contracting, GSS16753-DRN/DWR_MAIN 100 Enterprise Place, Suite 4 Dover, DE 19904

## Vendor Info.
VENDOR INFORMATION
ADDITIONAL INSTRUCTIONS:
INPUT POINT OF CONTACT INFORMATION FOR THIS SOLICITATION.
VENDOR NAME WILL COPY OVER TO EACH TAB.
Vendor Name:
Vendor Address:
City, State, Zip Code:
Contact Person:
Phone number:
Email:

## Maintenance
GSS16753-DRN/SWR_MAIN
Drain & Sewer Maintenance
Vendor Name: |  | 0
Line # | Location | Maintenance | Description of Maintenance
1 | Agricultural Building, Dover, DE | Storm Sewer Cleaning | Quarterly Cleaning by water jet of the storm sewer system from the downspout cleanouts and the main catch basin
2 | Agricultural Building, Dover, DE | Sanitary Sewer Cleaning | Quarterly Cleaning by water jet of the sanitary sewer main from the manhole at the rear of the building into the building. Cleaning by water jet from the manhole at the rear of the property to the first manhole.
3 | Townsend Building, Dover, DE | Basement Lift Station Emptying and Cleaning | Quarterly Emptying and Cleaning of the lift station in the basement.
4 | Troop 3, Camden, DE | Drainfield Cleaning | Quarterly Cleaning by water jet of the two large drain fields, the interconnecting pipes between the septic tanks, the pipes to the distribution boxes, and the incoming pipe from the building to the first septic tank being used as a lift station. Removal of "sludge" from the tanks to be included.
5 | Troop 3, Camden, DE | Basement Lift Station Emptying and Cleaning | Bi-annual emptying and cleaning of the lift station in the basement.
6 | DEMA, Smyrna, DE | French Drain Cleaning | Monthly cleaning by water jet of the french drains from the cleanouts into the pond area where they exit.
7 | Highway Administration Building, Dover, DE | Main Sanitary Sewer Cleaning | Quarterly cleaning by water jet of the sanitary sewer line from the end of the cleanout located outside the building to the main trunck line and into the building to the lab drain connection.
8 | Highway Administration Building, Dover, DE | Elevator Drain System Check | Quarterly checking of the elevator's sump pump function, the separators, and the connecting drainage lines to the large sand pits in the basement.
9 | Highway Administration Building, Dover, DE | Lab Area and Saw Cutting Room Drains Cleaning | Quarterly cleaning by water jet, vacuum and/or cable of the box traps, raised containment bin, and connecting pipes, out to the main sanitary sewer in the hall area.
10 | Rose Cottage, Dover, DE | Storm Sewer Cleaning | Quarterly cleaning by water jet of the area drains and connecting lines to the curb discharge.
11 | Richardson & Robbins Building, Dover, DE | Trench Drain Cleaning | Quarterly cleaning by water jet of the trench drains in the walkway, the down tubes and the main line to the walkway between the Richardson & Robbins building and DEDO building.
12 | Fire School Maintenance Building, Dover, DE | Main Sanitary Sewer Cleaning | Quarterly cleaning by Water jet of the main sanitary sewer main from the septic tank to the restrooms.
13 | Fire School, Dover, DE | Main Line Cleanig | Quarterly cleaning by water jet of the main sanitary sewer mains from the lift station and outside cleanouts to the restrooms.
14 | Fire School , Dover, DE | Storm Sewer Cleaning | Quarterly cleaning by water jet of the storm water drainage pipes, from the pond discharge spillway and the outside six inch cleanout, to the end of the line by the boiler room.
16 | Fire School , Dover, DE | Septic System Drainfield Cleaning | Quarterly cleaning by water jet and vacuum pump truck of the drainfield laterals and the connecting pipe between the distribution box and the septic tank.
17 | Fire School , Dover, DE | Basement Lift Station Emptying and Cleaning | Quarterly emptying and cleaning of the lift station in the basement.

## Pricing
GSS16753-DRN/SWR_MAIN
Drain & Sewer Maintenance
Vendor Name:
Line # | Location | Hourly Rate For Technician | Hourly Rate For Helper
1 | Water Jet Cleaning of Downspout to main catch basin
2 | Water Jet Cleaning of Sanitary Sewer Building Main
3 | Emptying and Cleaning of Lift Station
4 | Water Jet Cleaning of Drainfield
5 | Water Jet Cleaning of French Drains
6 | Checking of the elevator's sump pump function, the separators, and the connecting drainage lines to the large sand pits in the basement.
7 | Water Jet Cleaning of Storm Sewer
8 | Water Jet Cleaing of Trench Drains.
9 | Cleaning by water jet and vacuum pump truck of the drainfield laterals and the connecting pipe between the distribution box and the septic tank.
10 | Pre and Post Service Video
| Repair Service | Hourly Rate For Technician | Hourly Rate For Helper
Normal Business Hours
Outside of Normal Business Hours Weekdays
Outside of Normal Business Hours Weekend
| Business Hours | Time Period
Your organizations normal business hours M-F
Your organization’s normal weekend hours (if any)
| Repair Parts | %
Percent markup over cost