## Nurse&Trainer
Nurse Tech
Item # | Description | Basis of Design Manufacturer | Model | Proposed Substitution | Total Quantity | Unit Cost | Total Cost | Lead Time
E-NT-1 | Hospital Bed | Stryker | 3009/2850 |  | 3
E-NT-2 | Hospital Bed | Hillrom | NP50 |  | 3
E-NT-3A | Long Term Care Bed with Air Mattress | Panacea | 0-3QKRG/2880-AAS-350 |  | 1
E-NT-3B | Long Term Care Bed with Foam Mattress | Panacea | 0-3QKRG/0-F3537 |  | 2
E-NT-4 | Long Term Care Bed | Joerns | See Technical Specifications |  | 3
E-NT-5 | Overbed Table | Direct Choice | 77489 |  | 12
E-NT-6 | Mock Head Wall | Cogent | See Technical Specifications |  | 10
E-NT-7 | Sit-to-Stand Lift | Direct Supply | See Technical Specifications |  | 2
E-NT-8 | Sit-to-Stand Sling | Direct Supply | E7805 |  | 4
E-NT-9 | Full Body Lift | Invacare | RFPL450-1 Battery Powered |  | 2
E-NT-10 | Full Body Sling, Mesh, Large | Direct Supply | GV259 |  | 1
E-NT-11 | Full Body Sling, Solid, Large | Invacare | 56388 |  | 1
E-NT-12 | Bedside Commode with Coordinating Bucket | Drive Medical | 2970009525 |  | 10
E-NT-13 | Commode Bucket, 12 quart | Drive Medical | See Technical Specifications |  | 10
SM-NT-1 | Digital Readout Chair Scale | Direct Supply | 6475-C-AC |  | 1
SM-NT-2 | Digital Scale | Detecto | WBB2153059 |  | 2
SM-NT-3 | Upright Scale | Detecto | 338 |  | 2
SM-NT-4 | Soiled Linen Hamper Cart | Graham-Field/Medline | 5532B |  | 4
SM-NT-5 | Soiled Linen Hamper | Medline | MDT021373 |  | 6
Athletic Trainer
Item # | Description | Basis of Design Manufacturer | Model | Proposed Substitution | Total Quantity | Unit Cost | Total Cost | Lead Time
AT-1 | Treatment Table | Athletic Edge | ET-106/ET-203 |  | 3
AT-2 | Modular Cabinet | School Health | 24482 |  | 1
AT-3 | Taping Station | Athletic Edge | A4802/A4560 |  | 1
AT-4 | Stool | Athletic Edge | RS |  | 2
Nurse Office
Item # | Description | Basis of Design Manufacturer | Model | Proposed Substitution | Total Quantity | Unit Cost | Total Cost | Lead Time
NO-1 | Exam Table | Ritter | 24360 |  | 1
NO-2 | Recovery Couch | School Health | 24046 |  | 3
NO-3 | Recovery Couch with Drawer | School Health | 24282 |  | 1
NO-4 | Adjustable Stool | School Health | 24148 |  | 2
PTMA
Item # | Description | Basis of Design Manufacturer | Model | Proposed Substitution | Total Quantity | Unit Cost | Total Cost | Lead Time
PTMA-1 | Hi-Lo Table | Armedica | AM-BA334 |  | 1
PTMA-2 | Wall Mount Therapy Band System | Elgin | 151-100 |  | 2
PTMA-3 | Platform Mounted Parallel Bars | Clinton | 32007 |  | 1
PTMA-4 | Physical Therapy Stairs | Bailey | 809 |  | 1
PTMA-5 | Glove Dispenser | Cardinal Health | KEN 8555SA |  | 4
PTMA-6 | Scale | Health O Meter | 500KL/02-33-1531 |  | 1
PTMA-7 | Slant Board | StrongTek | See Technical Specifications |  | 2
PTMA-8 | Stretch Cage | True Fitness | See Technical Specifications |  | 1
PTMA-9 | Hydrocollator Heating Unit | Chattanooga | E-2 |  | 4